RE-TENDER FOR SUPPLY AND LAYING OF LT 1100 V CABLE AT CHITRANJALI FILM STUDIO Thiruvananthapuram

No.1570/T1/20/KSFDC dtd . 28.10.2022

1. SUMMARY OF NOTICE INVITING TENDER

1. Name of work	SUPPLY AND LAYING LT 1100 V CABLE AT CHITRANJALI FILM STUDIO, THIRUVALLAM Thiruvananthapuram

2. Tender No.     					1570/T1/20/KSFDC

3. Name and address of the owner			Managing Director, KSFDC,

Vazhuthacaud, TRIVANDRUM - 14

4. Period of completion of works 			2 days from the date of work order

5. Defects liability period.	12 Months from the date of Commissioning

6. Place of issue of tender	Managing Director, KSFDC, Chalachitra Kalabhavan Vazhuthacaud, TRIVANDRUM - 14

7. Place of receipt of tender				Managing Director, KSFDC,

Chalachitra Kalabhavan

Vazhuthacaud, TRIVANDRUM - 14

ksfdcltd@gmail.com

8. Performance guarantee	3 % the contract amount

9. The firm period of tender	2 months from the date of submission

10. Escalation	No escalation

11. Earnest money deposit (EMD)	1.5 % of the tendered amount

12. Last date of receipt of tender	05/11/2022 at 3.00 P.M.

13. Date and time of opening of tender			05/11/2022 at 3.30 P.M.

14. Tender cost	Rs.590/- (Inc GST)

15.  Penalty	1 of contract value per week up to a maximum of 10 of PAC

Issued to						---------------------------------------

--------------------------------------

--------------------------------------

1.	      T E N D E R   N O T I C E

1.	NOTICE INVITING TENDER

1.1	Sealed tenders are invited by The Managing Director, Kerala State Film Development  Corporation , Chalachithra Kalabhavan , Vazhuthacaud Thiruvananthapuram (hereinafter referred to as the `OWNER’) for SUPPLY AND LAYING LT 1100 V CABLE AT CHITRANJALI FILM STUDIO, THIRUVALLAM Thiruvananthapuram.

1.2.    A. Tender shall contain the following

a) Earnest money deposit as specified

b) Tender documents including notice inviting tender, eligibility to tender,      terms and   	    condition, instruction to the tenderers , conditions for the    contract, agreement,  special 	    condition, BOQ and recommended makes

B. Tenders shall be submitted at the office of The Managing Director KSFDC on or before at 3.00.pm   on 05/11/2022 Any tender received after the due date and time will be  rejected.

C. The tenders will be opened at 3.30 PM on 05/11/2022 in the office of KSFDC Ltd. 	Vazhuthacaud, Trivandrum-14.

1.3    The Owner reserves the right to reject all or any of the tenders and to accept in 	 	   	whole or part of any of the tenders without assigning any reason for so doing.

1.4   The successful tenders will be required to sign an agreement in a form approved by the Owner for the fulfilment of the contract.  Both the written acceptance of the tender by the Owner will constitute a binding agreement between the Owner and the person so tendering whether such formal contract is or is not subsequently entered into.

1.5 a)	Income-tax and work contract tax at the rate prevailing at the time of payment will be deducted from each running bill and final bill.

b)	All statutory payments in connection with the employment of the workmen for this                  work will be borne by the contractor.

1.6       PERIOD OF VALIDITY

The tender shall remain valid for acceptance for a period of 2 months from the date of opening of the tenders.

1.7	      INSPECTION OF SITE

Every tenderer is expected to inspect the site of the proposed work and acquaint himself with the site conditions, approaches etc. before quoting his rates.  No claim whatsoever should be entertained later on the plea of any difficulties involved in the execution of work, which was or was not foreseen by the tenderer.

1.8	      ALL INCLUSIVE RATES

The contractor’s rate must be firm and include the cost of  all materials, transportation of material to the site, all taxes Inc GST, service tax, Excise etc. and the fixing or placing in position for which the item of work is intended to be operated.  The rates quoted by the Contractor shall be firm throughout the contract period and there shall be no upward revision of the rates quoted by the contractor for any reason whatsoever.  It should be clearly understood that any claims for extra Sales Tax, Excise duty, Construction tax or any additional tax etc. shall not be entertained in any case whatsoever once tenders are opened.

1.9)  Eligibility to tender

- The contractor should have enough experience to carry out the work.

- Contractor shall submit relevant documents (work order or copy of agreement)  about the experience in this field. Attach certified copies of the work undertaken.

- Tenders from those who do not comply the eligibility condition will be rejected.

2. 	GENERAL TERMS AND CONDITIONS

2.1	      For this contract and subsequent contract, unless inconsistent with or otherwise indicated by the context, the following terms shall have the meaning defined here under:-

2.1.1	`The Owner’ shall mean  The Managing Director , Kerala State Film Development  Corporation , Chalachithra Kalabhavan , Vazhuthacaud Thiruvananthapuram , or his duly authorized representative to deal with matters regarding this work on his behalf.

2.1.2	 `Tenderer` shall mean person, firm or corporation who has submitted a tender against invitation to tender and shall include his legal representative, successors and assigners.

2.1.3	`Contractor` shall mean person, individual or firm or company whose tender with or without later amendments has been accepted and to whom a letter of intent/work order has been issued.

2.1.4	`Contract` shall mean and include the tender notice/invitation to tender, the tender and all pertaining documents, the letter of intent, the purchase order, the correspondence exchanged after receipt of tenders and before issue of the letter of intent, technical specifications and standard relating to the contract work and the formed agreement executed by the successful tenderer/vendor with the purchaser.

2.1.5	`Work/works` means and include all the work specified or set forth and required if any by the specification, drawings and other documents which form part of this contract or to be implied thereof or incidental thereof to be hereafter or required in such further explanatory instructions, drawings etc., as shall from time to time during the progress of the work be given by the owner.

2.1.6  EMD/Security Deposit

Tenderer  should  deposit  EMD  of   1.5 % of the tendered amount as prescribed in the tender along with the tender in favour of KSFDC.  If the tender is finalized the corporation reserves the right to   convert the EMD as performance guarantee and the balance towards performance guarantee (1.5 % of   the contract amount) shall be submitted by the successful tenderer in DD favouring    KSFDC LTD, payable  at Thiruvananthapuram before signing  the agreement.  In addition to performance guarantee , security deposit for the work shall be collected by deduction from the running or final bill of the contractors @ 2.5% of the gross amount of each running and/or  final claims. This will   be released only after the defect liability period expires from the date of commissioning   of the equipment supplied.

2.2	GENERAL CONDITIONS OF CONTRACT

The following general conditions of the contract shall be read in conjunction with the Special Conditions of the contract.  The following clauses shall be considered as extent and not limitations of the obligations of the contractor.

2.2.1	Tenders shall be submitted by post/courier/By hand as sealed tenders on or before 3.P.M on  05/11/2022.  Any tender received after the due date and time will be rejected.  The tenders will be opened at 3.30 P.M on 05/11/2022 in the office of KSFDC Ltd., Vazhuthacaud , Trivandrum.    Tenderer should quote both in figures as well as in words the rates and amount tendered by him for each item in such a way  that interpolation is not possible.

2.2.2	The tenderer should submit a statement along with his tender giving details of the tenderer`s previous experience of  similar work of  comparable  nature, also the  type and size of the organization owned by him.

2.2.3	Tenders  which are incomplete in any respect are liable to be rejected.

2.2.4	INSPECTION AND TESTING

Owner/authorized representative shall have all powers to inspect any portion of the equipment, examine the materials and workmanship of the contractor’s work at the site or any other place.

2.2.5	MATERIALS, TOOLS AND PLANT

All materials required  for the execution of the works other than those mentioned in the Special Conditions shall be supplied by the Contractor.  Materials so supplied shall have the approval  of the owner before using on the works.  All the rejected materials shall be removed at once from the site of work at the Contractor’s own cost.

Only Electrically operated instruments including hammer drilling, Core cutting, groove cutting and other equipments shall be used for chasing, cutting, drilling, threading etc.

2.2.6	Tollages etc

The contractor shall pay all tollages and other royalties, rent and other payments or compensation, if any for getting all the materials required for the works.

2.2.7	The work site should be always kept clean of unwanted materials, rubbish etc., and all necessary  safety precautions should be taken by the contractor as safety rules.

2.2.9	The final clearing will include dismantling and removing all the temporary structures put up by the contractor from the premises and cleaning off the area of work so as to make it neat and tidy to the full satisfaction of the Owner.

2.2.11	REJECTION OF DEFECTIVE EQUIPMENT & MATERIALS

If the equipment or any portion of materials thereof before it is taken over, is found to be defective or fails to fulfill the extent of the requirements, the contractor on  receipt of a written notice from the Owner, shall forthwith make good the defective materials within the stipulated period mentioned in the written notice or replace the equipment at no extra cost.  Any damage caused during the transit testing etc. shall be made good by the Contractor without any extra charges.

2.2.12	MAINTENANCE

For a period of twelve months commencing immediately after taking over of  the work by the “Owner” Contractors liability shall be to replace the defective parts, rectify/reconstruct the defective work that  may develop of his own construction or those of his sub contractors approved by the “Owner”  arising solely from faulty materials  or workmanship.

If it is necessary for the Contractor to rectify/reconstruct any defective portions of the work under the contract, the provision of this condition shall apply to the portions of work so replaced or renewed until the expiration of three months from the date of such replacement or renewal until the end of the above mentioned period of twelve months, whichever may be later.  If any defects be not remedied within a reasonable time the “Owner” may proceed to do the work at Contractor’s risk and expense, but without prejudice to any other rights which the “Owner” may have against the contractor in respect of such defects.

2.2.13	DEFECTS LIABILITY PERIOD

Any defect developed within `Defect Liability Period` of  eighteen months will have to be rectified by the contractor at their own cost and in case the defects are not rectified by the contractor, Owner or their representative shall get the work done at the risk and cost of the contractor.

2.2.14	Work Treated as complete when.

i)	The site is clear from all materials, site shed, etc. and the consultant is satisfied with the job done by the Contractor.

ii)	All equipment, tools, plant taken from the “Owner” have been returned by the contractor.

iii)	Rectifications of any damage done by the contractor to the work executed have been satisfactorily done by the contractor.

2.2.15	BY LAWS

The contractor shall comply with by-laws and regulation of local and statutory authorities having jurisdiction over the work and shall be responsible for payment of all fees and other charges and the giving and receiving of all necessary notices and the Owner shall be kept informed of the said compliances with by-laws, payment made, notices issued and received

2.2.16	COMPLETION TIME

The work should be completed within one day.

2.2.17	EXTENSION OF TIME

NIL.

2.2.18	QUANTITIES

The quantities set out in the bill of quantities are the estimated quantities of the work and are approximate. They are not to be taken as the actual and correct quantities of the works to be executed by the contractor in fulfilment of his obligations under the contract.  On award of work the contractor of his own has to estimate the actual quantities of work and to communicate to the owner.  No extra cost shall be paid for any variation in quantities.

2.2.19	MEASUREMENT AND BILLING

Wherever mode of measurement is specified, the measurement will be taken at site as per the latest IS code of practice for measurement.  The contractor or his representative shall accompany the Owner or their representative in taking measurements and shall agree to the measurements taken on spot.  All necessary tapes shall be of steel and shall be supplied by the Contractor.  The contractor shall then present his bill based upon the agreed and recorded measurements.  If the contractor fails to accompany the Owner for measurements, then he shall be bound by the measurements taken by the Owner.

Payment towards all interim bills will be made by the “Owner” within a time limit of 30days of presentation by the Contractor.

Period of final measurement shall be one month from the time of completion of the project.

The schedule of probable quantities may vary on the higher side or lower side. Hence, during material procurement, the contractor shall workout the actual quantities based on the good for construction/shop drawings issued for execution as per the project manager’s direction. The rate quoted in the tender is for finished actual work done. All extra and surplus materials if any, will be at contractor’s risk and must be carried away from the site upon completion and hand over of the works.

2.2.20	POWER TO MAKE  ALTERATIONS

The Owner shall have the power to make in writing any alterations, omissions, additions or substitutions for original specifications, drawings, designs, patterns and instructions that may appear to him necessary or advisable during the progress of the work and the contractor shall be bound to carry out the work in accordance with the instructions which may be given to him by the Owner or his representative.

Such alterations, omissions, additions, substitutions shall not invalidate the contract.  Any altered additional or substituted work which the contractor may be required to do in the manner specified above as part of the work shall be carried out by the contractor on the same conditions in all respect on which the main works was agreed to be done and at the rates derived according to clause 2.2.21

2.2.21	EXTRA ITEMS

Extra items may be classified as additional, substituted, or altered items, depending on their relation or otherwise to the original item or items of work.

Rates for authorities extra items, additional, altered or substituted work as may be ordered shall be determined by the Owner as follows:

a.	In the case of all extra items whether additional, altered or substituted, if accepted rates for identical items provided for in the contract, such rates shall be applicable.

b.	In the case of all extra items whether altered or substituted, for which similar items exist in the contract, the rates shall be derived from the original item by appropriate adjustment of cost  of affected components.  The percentage excess or deduction of the contract rate for the original item with reference to the estimated rate shall be applied in deriving the rates for such items.

c.	In the case of extra items, whether altered or substituted, for which similar items do not exist in the contract, the rates shall be arrived at on the basis of provision of standard data Book and schedule of rates of Public Works Department of Kerala by adding profit of 10% and applying the contractor’s quoted percentage above or below.

d.	In the case of extra items, whether additional altered or substituted, for which the rates cannot be derived from similar items in the contract, and only partly from similar items in the contract, and only partly from the public work departmental rates, the rates for such part of parts of items as are not covered in the schedule of rates shall be determined by the Consultant/`Owner’ on the basis of the prevailing market rates giving due consideration to the analysis of the rate furnished by the Contractor with supporting documents, including contractor’s profit.  This shall be added on to the P.W.D Departmental rate (including contractor’s profit).  For the other part of the items the rates can be derived from the schedule of rates of P.W.D.

e.	 In the case of extra item whether additional, altered, substituted, for which the rates cannot be derived either from similar item of work in the contract or from the departmental schedule of rates, the contractor shall within 14 days of the receipt of order to carry out the said extra item of work, communicate to the consultant the rate which he proposes to claim for the item, supported by analysis of the rate claimed and the `Owner’ shall within one month thereafter, determine the rate on the basis or the market rate giving due consideration to the rate claimed by the contractor.

2.2.22.  Liquidated Damages/ Penalty

The  delivery and  completion period  as  agreed  in  the  agreement  shall  be  the  essence  of      the  Contract.  If  the  supplier fails  to complete the work within the time agreed or     extended, the supplier has to pay to the buyer as Liquidated Damages/penalty  for such delay     or default.  If the supplier fails to complete the supply and install  within the specified period, including the grace period if allowed, the penalty shall be charged at 1% of the total contract amount per every week of delay till the penalty reaches 10% of the total contract amount after which the contract stands cancelled. Such penalty amount may be deducted by the owner from any money due or that may become due to the supplier.

3.	SPECIAL CONDITIONS

3.1	Time is the essence of the contract.  Time of completion allowed is Two days.

3.2	Tender shall be opened on 05/11/2022.

3.3	The letter of intent shall be issued soon followed by the formal work order.

3.4	Only first quality materials shall be allowed for the work.  The samples of all materials shall be got approved by the representatives of owner before supplying for the work.

3.6	Contractor has to prepare drawings of finalised cable route and submit to Studio manager Chitranjali Film Studio .

3.7	The payment shall be made as under:-

i)	70% of  the  value of goods supplied/work executed at site, shall be made immediately after supply of materials/work executed at site.

ii)	15% of the value of goods supplied/work executed at site, shall be made immediately after completing and commissioning  the equipments/work executed.

iii)	12.5% after rectification of defects, energizing the complete system to the full satisfaction of Owner/ final measurements done.

iv)	Balance 2.5% after a defect liability period of 12 months.

3.8	The rates quoted by the contractor shall include cost of all materials, conveyance, labour supervision thereof, hire of all tools and implements, incidental charges and all that is required for the complete work.

3.9	The contractor is expected to visit the site and study the probable routes of transportation of material to the site before quoting.

3.10	All the items of the work are to be executed as per relevant IS specifications.

3.11	The Contractor has to agree and strictly abide to all the conditions stipulated in the tender and any offer with deviation or request for deviation are liable to be rejected.

4.	PARTICULAR SPECIFICATION

4.1	SCOPE:-

The scope of work covers supply and laying LT 1100 V cables as indicated in the schedule and earthing as per standards.  All necessary clearance shall be obtained from authorities such as  BSNL etc  and service connection obtained to the satisfaction of the owner.

4.2	GENERAL

Work shall be carried out in accordance with specification local rules.  Indian Standard Code of Practice No.IS:732-1963.  Definition of terms shall be as in the I.E. Rules.

4.3                   LT CABLE   1.1 KV GRADE/PVC CABLE

4.3.1  		 INSTALLATION

Cable shall  be  laid  in the  routes marked  in the  drawings Where the  cable route is not  marked the contractor  shall mark  it   out on  the drawings  and also  on the  site and obtain the  approval of  the Consultant  before laying of  the cable.  Procurement  of cable  shall be  on the basis  of actual  site measurement  and the  quantities shown on  the schedule  of work  shall be  regarded as   a guide.  Cable rising  indoors shall  be laid  on walls, ceiling, inside shafts or trenches.  Single  cables laid  shall be  fixed directly  to walls  or ceiling.  All  supports shall be  at not  more than  500mm.  Where number  of cables are run necessary  perforated cable  trays shall  be provided wherever  shown.  Cables laid  in built  up trenches shall  be on steel supports.  Plastic identification tags  shall be  provided at  every 20mtr.

Cables shall  be bent  to  a radius not  less than  12 times the overall  diameter of  the cables or  in accordance  with the manufacturer's  recommendation whichever  is higher. In case  of direct  buried cable the  cable route  shall be parallel or  perpendicular to  roadways, wall etc. Cables   shall be laid in  an excavated graded  trench over  sand cushion to  provide protection  against abrasion. Width  of excavated trenches  shall be  as required.  The  cable route shall be  provided with  cable route  marker at  every 20mtr.

4.3.2    	TESTING

M V cables shall  be tested  upon installation  with   a 500V megger and  the following  readings established.

1.	Continuity on  all phases

a.  between  conductors

b.  all conductors  and ground

2.  Insulation resistance

4.3.3           	MODE  OF MEASUREMENT

Cable will  be measured  on the  basis of  unit length  and shall include  the following:-

i       Cables and  clamps

ii      Installation commissioning and  testing

iii     Cable marking

iv     Cable route  marker if  required

4.3.4     TESTING

Cables shall be tested upto installation with a Megger and the following readings established.

1.	Continuity on all phases

2.	Insulation resistance.

a.	between conductors

b.	all conductors and ground

All the Tests shall be recorded

4.3.5     EXCAVATION

Cables buried under ground will be measured on the basis of unit length and paid for at unit rates and shall include:

i)	Excavation to 1.2mtr/0.6mtr and back filling

ii)	6” sand cushioning below and above cable.

iii)	Protective bricks/tiles above the sand cushioning.

4.4  	The following  standards  and rules  shall be  applicable.

IS 732    Code of  practice for  electrical wiring  installation

RECOMMENDED MAKES OF MATERIALS

No	ITEM DECRIPTION	RECOMMENDED MAKE

1	Cable Jointing Kit ( LT)	Polycab,V-Guard,Havells(Heat Shrinkable Type)

2	LT XLPE Cables.	              V-Guard,Havells,Polycab,RR,Finolex.

## PROFORMA OF PRELIMINARY AGREEMENT

(To be executed on stamp paper of value Rs.200/- and submitted along with tender).

Preliminary agreement executed on this ……day of ……………..… Two thousand Twenty Two  between THE KERALA STATE FILM DEVELOPMENT CORPORATION LTD. (KSFDC), VAZHUTHACADU, THIRUVANANTHAPURAM (Hereinafter called owner) on one part and ……………………………………………………………………. ………………… ……………………………………………………………………………… (Name and address of the Tenderer) (Hereinafter called the Bounden) on the other part.

Whereas in response to the Tender notification no. ……………………………… dated …………. the bounden has submitted to the KSFDC a Tender for the  supply and laying LT cable at CHITRANJALI FILM STUDIO of KSFDC at Thiruvananthapuram ……… ………………………………………………………………. …………………… specified therein subject to the terms and conditions contained in the said tender;

Whereas the bounden has also deposited with the KSFDC a sum of Rs. ………………. as earnest money for the execution of an agreement undertaking the due fulfillment of the contract in case his tender is accepted by the KSFDC.

Now THESE PRESENTS WITNESS and it is hereby mutually agreed as follows:

1.   In case the tender submitted by the bounden is accepted by the KSFDC and the contract for ……………………………………………………………………………………… is awarded to the bounden, the bounden shall within 2 days of acceptance of his tender execute an agreement with the KSFDC incorporating all the terms and conditions under which the KSFDC accepts his tender.

- In case the bounden fails to execute the agreement as aforesaid incorporating the terms and conditions governing the contract, the KSFDC shall have power and authority to recover from the bounden any loss as determined by the KSFDC by appropriating the earnest money deposited by the bounden and if the earnest money is found to be inadequate the deficit amount may be recovered from the bounden and his properties movable and immovable in the manner hereinafter contained.

- All sum found due to the KSFDC under or by virtue of this agreement shall be recoverable from the bounden and his properties movable and immovable under the provisions of the Revenue Recovery Act for the time being in force as though such sums are arrears of land revenue and in such other manner as the KSFDC may deem fit.

In witness whereof the Kerala State Film Development Corporation and Shri. …………………………………….the bounden have hereunto set their hands on the day and year first above written.

Signed by : …………………………………………………

In the presence of witness

1.  ................................

2.  ................................

Signed and delivered by Sri....................................…………., Contractor.

In the presence of witness.

1............................

2............................