No.112/T2/19/KSFDC		      				                24.01.2019

Quotation notice for  20 KVA  online  UPSs

1.	 Item rate quotations are invited for 20 KVA online uninterrupted power supply 	system(UPSs) of following specifications. Quotationer may quote rate for the supply, 	installation, testing and commissioning.

1. 	20 KVA

Supply, installation, testing and commissioning of 20 KVA, 340 to 470 V input, 230V out put UPS JGBI Based online UPS with isolation transformer with internal tubular battery for a back up of 45 minutes (30 Nos. of 50 AH approximately) with battery stand and interconnecting cables and leak proof fibre glass tray.

(Refer technical specification & schedule )

2.	Recommended brands of batteries

3.	Exide, Amaron,SF Sonic, Amar Raja, Prestolite

Only original equipment manufacturers and their authorized dealers need to quote. They shall have adequate service centers near to the theatres concerned. They shall have adequate number of installations to their credit. These are eligibility conditions. The quotationer shall be amenable to techno commercial discussions.

4.	The rate quoted shall be all inclusive. GST number may shown in the quote.

5.	The tender shall hold firm for period of six months. The exact requirement of numbers of UPSs will be given at the time of issuing purchase order.  The supply installationtesting & commissioning shall be completed within 15 days from the date of Purchase order.

6.	After the issue of purchase order, quotation may execute an agreement on stamp paper worth Rs.200/- before delivery of items for installation. 5% of the total order value will be submitted as security deposit till the expiry of defect liability period.

7.	Security deposit will be released only after the defect liability period which shall be 3 years from the date of successful installations.

8.	Minimum 3 years warranty for UPS & 4 years for battery  may be provided.

9.	Post warranty AMC rates also can be quoted separately.

10.	Address of the nearest service center also may be indicated.

11.	Quatationer  may enclose a list of their installations in Kerala.

12.	Product catalogue and data sheets may be enclosed.

13	The specifications of the product may be separately shown along with the rates.

14.	Quotations with rates for UPS with specifications as attached  with all enclosures as requested by this notice in sealed covers superscribing "QUOTATION FOR UPS" shall reach Managing Director, Chalachithra Kalabhavan, Vazhuthcaud, Thiruvananthapuram-14 not later than 3.00pm on       02.02.2019. Quotations will  be opened on the same day at 3.30pm in the presence of available quotationers.

15. 	Payment will be made only after deliver and successful installation and certification there to.

16.	MD, KSFDC reserves the right to reject any or all tenders without assigning any reason whatsoever.

17.	A copy of this tender notice in full may be enclosed duly signed with seal to comply with these conditions.

18	Quotationer shall comply with the deliver/ schdule as noticed by KSFDC if the quotaion is accepted.

19.	All statutory deductions as applicable will be effected.

Managing Director