**CHITRANJALI STUDIO**

**(A Unit of Kerala State Film Development Corporation Ltd)**

**Thiruvallam, Thiruvananthapuram-27.**

Phone: (0471) 2381450,51,52,2380946

E-mail: chitranjalistudio@yahoo.com

No:07/CS/MM/Const/2017-18 16/05/2017

**Quotation Notice**

Sealed quotations are invited from OEM/authorized dealers for the supply and installation of **15 HP** **Horizontal Multistage Pump Set.**

Last date of receipt of quotation : **31**/**05/17 - 3 PM**

For details visit www.ksfdc.in or contact : **9961968135.**

Sd/-

**Studio Manager i/c.**

**CHITRANJALI STUDIO**

**(A Unit of Kerala State Film Development Corporation Ltd)**

**Thiruvallam, Thiruvananthapuram-27.**

Phone: (0471) 2381450,51,52,2380946

E-mail: chitranjalistudio@yahoo.com

No:07/CS/MM/Const/2017-18 16/05/2017

Terms & Conditions for supply and installation of 15 HP Horizontal Multistage Pump Set

1) The specification :

Pump input - 11 KW/15 HP

RPM - 3000 rpm

No. of phase - 3 (Three)

Frequency - 50 Hz

Suction/Discharge - 50 mm/40 mm

Head - 100 m

Discharge - 21 m3/hr.

Enclosure - TEFC

Impeller - Bronze

No. of stage - 5 (Five)

Degree of Protection- IP 55

2) Item has to be delivered, installed, tested and commissioned at Punchakari Pump House, Thiruvallam, Thiruvananthapuram.

3) 2.5% of the quoted rate may be offered as EMD along with quotation by way of DD payable to KSFDC Ltd at Thiruvananthapuram.

4) Minimum 2 years warranty may be provided.

5) Original equipment manufactures or their appointed dealers only are eligible to quote.

6) Preferred brands are Kirloskar, V-Guard, CRI, Mahendra.

7) 5% of the quoted amount will be kept as security deposit for which BG may be produced to cover the clause of warranty during defect liability period.

8) The last date or receipt of quotation is **3 PM on 31/05/17**. The quotations will be opened on the same day at **4 PM** in the presence of available tenderers.

9) KSFDC reserves the right to reject any or all quotations without assigning any reason whatsoever.

10) Agreement on stamp paper may be executed on acceptance of the quotation.

11) Sanctioned period for delivery and completion for installation will be 10 days from the receipt of work order.

12) Payment will be made against supply and installation of items covered under

quotation.

13) A copy of this quotation notice may be enclosed with quotation duly signed and affixed with seal for the acceptance of the terms & conditions by the quotationer.

14) Quotation may be submitted on letter head or plain paper with all inclusive rates, specifications, warranty period, etc. Product catalogue may be attached.

15) List of clients may be enclosed.

16) Quotation shall be valid for 90 days.

17) Cover containing quotation shall be superscribed **“Quotation for 15 HP** **Horizontal Multistage Pump Set”** and sent to Studio Manager i/c., Chitranjali Studio, Thiruvallam, Thiruvananthapuram-27.

Sd/-

**Studio Manager i/c.**