KERALA STATE FILM DEVELOPMENT CORPORATION LTD

CHALACHITRA KALABHAVAN

VAZHUTHACAUD, THIRUVANANTHAPURAM 695 014

TENDER No: 18/T1/2008/KSFDC dated: 01/08/2018

TENDER DOCUMENT

TENDER DOCUMENTS FOR THE PAINTING WORKS OF ENTRANCE LOBBY AND MAINTENANCE WORK GROUND LEVEL SUMP AT KAIRALI SREE THEATRE, CHERTHALA

KERALA STATE FILM DEVELOPMENT

CORPORATION LTD

KAIRALI SREE THEATRE, CHERTHALA

| Tender No: 18/T1/2008/KSFDC | Dated : 01.08.2018 |
| --- | --- |
| Name of work : | PAINTING WORKS OF ENTRANCE LOBBY AND MAINTENANCE WORK GROUND LEVEL SUMP AT KAIRALI SREE THEATRE, CHERTHALA |
| Earnest money deposit : | Rs.7,800/- (in the form of DD in favour of KSFDC, Thiruvanaanthapuram) |
| Time of completion : | 30 (Thirty) Days |
| Last date and time of submission of tender : | 3.00pm on 14.08.2018 |
| Date and time of opening of Tender | 3.30pm on 14. 08 .2018 |
| Cost of tender documents : | Rs.650/- (inclusive of GST) |
| Receipt of tender : | The Theatre Manager, Kairali Sree Theatre, Cherthala |
| Issued to: ……………………………………… ………………………………. .……. …………………………………… ……………………………………… Ph:………………Mob:……………………. | Issued on: ……………………. D.D /Receipt No:…………………... Dated:…………….. |

NOTICE INVITING TENDERS

Sealed percentage rate tenders for - PAINTING WORKS OF ENTRANCE LOBBY AND MAINTENANCE WORK GROUND LEVEL SUMP AT KAIRALI SREE THEATRE, CHERTHALA

- . are invited by the The Theatre Manager, Kairali Sree Theatre, Cherthala (hereinafter referred as “Owner/KSFDC” ) from reputed and competent contractors having experience in executing such works.

2a. Tenderers are strongly advised to go through the tender documents in connection with this tender very carefully.

2b. Sealed Tenders should reach the The Theatre Manager, Kairali Sree Theatre, Cherthala on or before 3.00 pm on  14.08.2018. Any tender received after the due date and time will be rejected. KSFDC will not take any responsibility for the loss or delay in receipt of tenders sent by mail.

Tenderers will deposit a sealed super scribed envelope containing:

- Earnest Money Deposit as specified.

- Letter accompanying the tender with communication other than those stipulated in the tender and copy of experience certificates as evidence to eligibility.

- Demand Draft for Rs.650/- (Rupees six hundred and fifty only) as cost of tender form in case of the tender documents down loaded from the web site

- Tender documents duly signed in all pages with preliminary agreement

- Percentage rate tender – Rates to be quoted both in figures as well as words in the space given in the tender schedule

2c. Tenders received before the due date and time will be opened in the presence of contractors or their authorized representative who are present at the office of  Theatre Manager, Kairali Sree Theatre, Cherthala on 14.08.2018 at 3.30 pm.

2d. Subject to the owner’s (KSFDC) right to accept any tender, and to reject any or all tenders, the owner will award the contract to the tenderer whose bid has been determined to be substantially responsive to the tender documents and who has offered the lowest evaluated Tender Price provided further that the tenderer has the capability and resource to carry out the contract effectively.

3.  Tenders not properly filled, which are mutilated with incorrect calculations or not complying with the condition specified will be rejected out rightly.

4a.If the tender is made by an individual it shall be signed with his full name and complete address shall be given. If it is made by partnership firm it shall be signed with the co- partnership name by a member of the firm who shall sign his own name and give the name and address of each partner of the firm and attach a copy of ‘Power of Attorney’ with the tender authorizing him to sign on behalf of the other partners. A certified copy of the ‘Registered Partnership Deed’ shall also be submitted along with the tender. In case the tender is made by or on behalf of a company incorporated under the Companies Act, 1956, it shall be signed by the Managing Director or by one of the Directors duly authorized  on this behalf and shall included a copy of the ‘Power of Attorney’ with the tender. A certified copy of the registered deed shall also be submitted along with the tender. The tender should be in a sealed cover.

4b The Tenderer shall quote their offer both in figures as well as in words in such a way that interpolation is not possible. All corrections and alterations in the entries of tender papers will be signed in full by the Tenderer with date. The tenderer shall sign at the right hand bottom of each page of the Tender documents.

5.   EMD / SECURITY DEPOSIT/ RETENTION MONEY

A   E.M.D

Earnest Money Deposit in the form of crossed demand draft in favour of  The Managing Director, KSFDC Ltd, Thiruvananthapuram-14 to be deposited along with the tender.

EMD of the unsuccessful tenderers will be refunded without any interest immediately on execution of agreement by the successful tenderer or on expiry of the firm period of the tender of 90 days from the date of submission of the tenders which ever is earlier. EMD will be forfeited;

i) If a bidder withdraws his bid during the period of validity specified

ii) If the successful bidder fails within the time limit to sign the contract document or fails to furnish the required security deposit.

B.  SECURITY DEPOSIT

The successful tenderer shall within seven days from the date of intimation deposit an amount equal to 5% subject to a maximum of Rs.1 lakh of the awarded contract value in the form of crossed demand draft in favour of KSFDC Ltd as security for the fulfilment of the contract.

EMD will be refunded to the contractor after remittance of the security and execution of the agreement. EMD of the successful tenderer can be converted into security for the work. If the contractor fails to execute the work as specified or if he abandons the work, the security deposit shall be forfeited.

The security deposit will be refunded to the contractor after the expiring of the defect liability period from the date of completion of the work.

C.  RETENTION MONEY.

Retention Money at the rate of 10% of the value of work done for each running bill will be deducted from first and following part bills until such time as the cumulative total amount of the such deductions (herein referred to as Retention Money) from part bill plus the sum of security deposit shall be limited to 10% of the total value of contract as per agreement. Half of the Retention money which is held as additional security will be released at the discretion of the Managing Director after successful completion of the work after obtaining a guarantee for the work for the entire period of Defect liability period in writing from the contractor.  The maximum period for retaining retention money is the total Defect liability period from the date of completion of the work provided that if such time there shall remain to be executed by the contractor any works ordered during such period pursuant to the relevant clauses, the owner shall be entitled to with hold the payment until the completion of such work or so much of the balance amount as shall in the opinion of the Engineers represent the cost of the works so remaining to be executed.

EMD, Security deposit and Retention money will not bear any interest whatsoever.

D.  All type of statutory deduction and at the prevailing rate time of payment will be deducted from each running bill and final bill.

E.  All statutory payment in connection with employment of workmen for this work will be borne by the contractor. The contractor is the employer of all the workers engaged for this work and should therefore take all required registrations and pay premiums correctly to labour welfare funds constituted by the Union Government and Government of Kerala from time to time.

F.  Sales tax on work (work contract tax) shall be deducted at 3% of the gross payment at present for contractors having KGST registration. For those contractors without KGST registration the deduction for work contract tax shall be as per KGST registration.

Any tax omitted to be deducted in any part bill shall be deducted in the subsequent bills/final bill.

6.  PERIOD OF VALIDITY.

The tender shall remain valid for acceptance for a period of 90 days from the date of submission of the tenders.  If any tenderer withdraws his tender before the said period or makes any modifications in terms and conditions of the tender, the KSFDC has the liberty to forfeit the said Earnest Money Deposit.

7.  INSPECTION OF SITE

Every tenderer is expected to inspect the site of the proposed work and acquaint himself with the site conditions approaches, availability of raw materials, geological and weather conditions etc before quoting his rates.  He must go through all the drawings Specifications and other tender documents. Any further clarifications in the drawing and documents can be had from the engineer at the above mentioned address.

8.  QUANTUM OF WORK

A Schedule of approximate quantities for various items accompanies this tender.  It shall be definitely understood that the Engineer of KSFDC do not accept any responsibility for the correctness or completeness of this  schedule in respect of  items and quantities and this schedule is liable to alteration by  deletions, deductions or additions at the discretion of the engineer of KSFDC without  affecting the terms  of the contract. The KSFDC reserves the right to increase or decrease the quantum of work at the site without assigning any reason.

9.  ALL INCLUSIVE RATES

The contractor’s rate must be firm and include the cost of transportation of material to the site, all taxes such as Sales tax, Excise and Octroi etc. and the fixing or placing in position for which the item of work is intended to be operated. The rates quoted by the contractor shall be firm throughout the contract period and there shall be no upward revision of the rates quoted by the contractor for any reason whatsoever. However the rate of deduction towards Income tax, work contract tax etc shall be changed if the Govt. revises the rates and also deduction shall be made towards any other tax imposed by the government.

10. The acceptance of a tender shall rest with the authorized representative of the KSFDC who does not bind himself to accept the lowest tender and reserves to himself the authority to reject any or all the tenders received without assigning any reasons whatsoever.

11. The work shall be carried out under the direction and supervision of the Engineer of KSFDC at site. On acceptance of the tender the contractor shall intimate the name of his accredited representative who would be supervising the construction and would be responsible for taking instruction for carrying out the work.

12. The Engineer of KSFDC’s decision with regard to quality of the material and workmanship will be final and binding. Any material rejected by the engineer shall be immediately removed by the contractor and replaced by materials as per the specifications and standards of the BIS

The engineer of KSFDC shall furnish with reasonable promptness additional instructions by means of drawings otherwise in writing necessary for the purpose of execution of the work.  All such drawings and instructions shall be consistent with the contract document.

13. SUBLETTING

a) No part of the contract shall be sublet without the written permission of the engineer and the KSFDC nor shall transfers be made by Power of Attorney authorizing others to carryout the work or receive payment on behalf of the tenderer.

b) The KSFDC shall have the right to supervise the work of sub contractor control it and stop it calling upon the contractor to carry out the work as per the terms of the contract.

c) The contractor shall not make any demand for liquidation damages or penalty for delay in any sum in excess of such amount as may be specifically named in the sub contract. Nothing in this clause shall create any obligation on the part of the KSFDC to pay or to see the payment of any sums to any sub contractor

14. DEFECTS LIABILITY PERIOD

Any defect developed within defect liability period of 6 months will have to be rectified by the contractor at their own cost and in case the defects are not rectified by the contractor, architect/engineer of KSFDC or their representative shall get the work done at the risk and cost of the contractor.

15. The contractor must co-operate and co-ordinate with other contractors involved in other works on the site. The contractor should also note that they shall have to clear the site of the vegetation, debris etc. before the commencement of the work and that no extra payment is permissible on this account.

16. PERIOD OF WORK (TIME OF COMPLETION)

Time is the essence of the contract.  The total work has to be completed and handed over with in 30[Thirty] Days time.  Commencement of the work shall be considered from the 7th day on the date of work order.

17. Extension of Time of Completion.

To take  care of any KSFDC’s delay or  delay occurring due to unexpected technical problems caused during the execution of works a grace period of 20% of the original period of completion will be allowed, if found necessary to complete the works. The engineer recommending grace period will record in details the reason for allowing the extension in detail. The grace period will not be granted if the extension is necessitated due to the default on the part of the contractor.

18. PENALTY

If the contractor fails to complete and hand over the work within the specified period, including the grace period if allowed, the penalty shall be charged at 1% of the total contract amount per every week of delay till the penalty reaches 10% of the total contract amount after which the contract stands cancelled. Such penalty amount may be deducted by the owner from any money due or that may become due to the contractor.

19. MEASUREMENT AND BILLING

Wherever mode of measurement is specified the measurement will be taken at site as per latest BIS code of practice for measurement.

The contractor or his representative shall accompany the engineer of KSFDC or their representative in taking measurements and shall agree to the measurements taken on spot.  All necessary tapes shall be of steel and shall be supplied by the contractor. The contractor shall then present his bill based upon the agreed and recorded measurements and as per the directions of engineer. If the contractor fails to accompany the engineer of KSFDC for measurements then he shall be bound by the measurements taken by the engineer of KSFDC.  The contractor shall raise bill for a minimum payment of 25% of contract amount.

Period of final measurement shall be one month from the virtual completion of the total work.

20. EXTRA ITEMS.

Extra items may be classified as additional, substituted or altered items, depending on their relation or otherwise to the original item or items of work.  If there is no rate in accepted schedule for any additional or extra items of work ordered to be carried out, then prior to the execution of that work , the rate for the same shall be fixed as mentioned below and  entered on  a supplemented slip and signed by the contractor and the Managing Director/.  This supplemental slip shall be attached to the original agreement and form a part of the same.  A Copy of the supplemental slip shall also be given to the contractor rates for authorized extra items additional altered or substituted work as may be ordered shall be determined by the Engineer of KSFDC as follows.

a) In the case of all extra items whether additional altered or substituted if accepted rates for identical items provided for in the contract,  such rates shall be applicable.

b) In the case of extra items whether altered or substituted for which similar items exists in the contract, the rates shall be derived from the original items by appropriate adjustment of cost of affected components.  The percentage excess or deduction f the contract rate for the original item with reference to the prevailing DSR rate shall be applied in deriving the rate of such items.

c) In the case of extra items whether altered or submitted for which similar items do not exist in the contract the rates shall be arrived at on the basis of provisions exists in standard DSR2016 and schedule of rates and observed rates of Kerala Public works departments at the time of tender of awarding contract after applying the tender percentage except on cost departmental materials.

d) In the case of extra items whether  additional altered or substituted for which the rates cannot be derived from similar items in the contract and only partly from similar items in the contract and only partly from the CPWD DSR 2016 rates, the rates for which part or parts of items as are not covered in the schedule of rates shall be determined by the engineer of KSFDC on the basis of the prevailing market rates giving due consideration to the analysis of the rate furnished by the contractor with supporting documents including contractors profit.  This shall be added on to the CPWD DSR 2016 (including contractors profit).  For the other part or the items for which the rates can be derived from the Delhi schedule of rates 2016 of CPWD.

e) In the case of extra item whether additional altered substituted for which the rates cannot be derived either from similar items of work in the contract or from the departmental schedule of rates,  the contractor shall within 14 days of the receipt of  order to carry out the said extra item supported  by analysis of the rate claimed and the Owner shall within one month thereafter,  determine the rate on the basis of the market rate giving due consideration to the rate claimed  by the contractor.

f) In case of the percentage rate contract the rate for extra item shall be arrived at by applying the percentage excess or deduction to the department data rate as per the original schedule on which the tenders were invited.

21. ELECTRICITY AND WATER

The KSFDC has already made the electricity connection and water facility to the site at one location.  The contractor may use it by making further extensions if required at his own arrangements.

22.  INSPECTION AND TESTING

The Owner/ his authorized representative shall have all powers to inspect whole / any portion of   the materials and workman ship of the contractors work at the site or any other place.

23. CONTRACTORS STORE AND SITE OFFICE

Suitable area near the site of work shall be allowed to the contractor free of cost for storing his tools and plants materials for his site office and cement godown. However the structure and locking facilities will be provided by him at his own expenses and he will be solely responsible for guarding his property and shall cover his property with requisite insurance against theft fire etc., The contractor however will have to dismantle the shed and vacate the land of all debris etc at his own expenses after completion of work.

This notice inviting tender will form part of the tender document and the agreement executed by the successful tenderer.

I/We hereby declare that I/We have read and understood the above instructions and the terms and conditions mentioned hereunder are binding to me/us.

Signature of the Tenderer

SUMMARY OF NOTICE INVITING TENDER

1. Defects Liability Period Clause No.(14)			  	 : 6 Months.

2. Period of final measurement and valuation Clause No. (19) 	 : One Month.

3. Date of Commencement of Work Clause No. (16)		: From the 7th day of the date of

Work Order

4. Period of Completion of Works Clause No. (16)			: 30 [TWENTY] days

5. Penalty Clause No. (18)				: 1 % of the total contract value per

Week up to a maximum of 10%.

6. Retention Money Clause No. (5C)				: 10% of each running bill amount.

7. The firm period of tender Clause No. (6)			: 90 days from the date of

submission

8. Escalation				: No escalation

Contractor

ELIGIBILITY TO TENDER

- The contractor should have experienced in civil works and successfully completed at least two work of similar nature. Documentary evidence for the same shall be furnished.

- Contractor shall submit relevant documents about the experience in this field. Attach certified copies of the work undertaken and satisfactory completion certificates with regard to quality, duration and satisfaction of the clients with photographs of the completed work.

- Tenders from those who do not comply with these eligibility conditions will be rejected.

TERMS & CONDITIONS OF CONTRACT

1.     A very high standard of workmanship and speed of construction is expected for the project

2.   The time is the essence of this contract and the work shall be completed with in 30 days from the 7thday of date of work order.

3.    Time is deemed to be the essence of this contract and the hole work shall be the completed with in the time stipulated. If delayed the completion, the KSFDC reserves the right to imposing penalty with the relevant clause of the contract.

4.   The Contractor is expected to visit and examine the site and satisfy himself as to the conditions of the site, the extent and magnitude of the work very meticulously and shall obtain generally his own information  on all   matters effecting the execution of the works.

5.   The contractor has to prepare a bar chart incorporating all the items  of work in the agreement and the works of other contractors at site before starting the work. The owner may introduce necessary correction to it after discussion with the contractor and the contractors of other works. The progress of the work shall be discussed every fortnight on site meetings based this bar chart. The achievement of progress on expiry of 25% of the time of completion shall be the scrutinized strictly by the Engineer in charge. If the contractor fails to achieve progress as given in the bar diagram the owner shall with hold an amount not exceeding 1% of the contract value supposed to have completed at the time of assessment which would be subsequently released if the contractor achieves the progress subsequently as scheduled.

6. The rate quoted by him for the work in the schedule shall include all the cost and overheads for execution in the existing structure. No extra charge paid in consequence of any of these points or as the ground of insufficient description will be allowed.

7.   The works shall be done true to line and level. The periodical checking of these by the Engineer shall not absolve the contractor of his responsibility regarding their accuracy. In case of any deviation or discrepancy in line and level, the contractor shall make good the discrepancy without any compensation for the additional work if any involved.

8.  All materials before using incorporated in the work shall be inspected and if necessary tested before approval by the Engineer. Any work on which such materials are used without prior inspection and without approval is liable to be considered as objective and not acceptable.

9.   The contractor has to make his own arrangements for supply of all materials. The contractor has to bear all the related cost for transporting, storing etc.Approved samples of all materials shall be deposited with the KSFDC.

10.  Chipping of the walls, columns etc and fixing plugs should be done carefully with proper tools without damaging the existing structures.

11.  The contractor has to make  own arrangements for  scaffolding for the entire area and heights has required. The contractor has to bear all the related costs for transporting, storing etc of the scaffolding and other materials.

12. The existing frame work should be strengthened properly wherever necessary.

13. In the case of items in which the prior approval is required as regards the colour/designs/make of materials, the contractor shall ensure that these approvals are obtained from them sufficiently early so that no delay will occur in the execution of such works. In  case there is any delay in getting the necessary approval this may be brought to the immediate attention of the authorities.

14. After the works are completed all the floor should be cleaned by removing all waste materials outside the periphery of the cleared area cleared immediately. Also all the debris and waste materials connected to the contractors work shall be removed from the site at his own cost immediately after completion of the work.

15. The contractor should take care of all fixtures fixed till they were finally taken over by the owner.

16. A site order book has to be maintained by the contractor in the site office. The Engineer shall enter orders in duplicate regarding the works in this book in duplicate. All entries there in  shall be signed by the contractor or his authorised representative with in 2 days and the duplicate copy passed to the supervising Engineer. It  is the responsibility of the contractor to follow the instructions given in the site order book.

17. The contractor should arrange the works in co-ordinations with the other agencies working at site.

18. The contractor should inform the KSFDC in writing, the name of the site agent, who should be responsible for implementing the instructions at the site. The agent should also ensure the discipline of the contractor’s workers at the site and coordinate the works and avoid any hindrance to other agencies working at the site.

20. SAFETY CONDITIONS

The contractor has to ensure every precautions for the safety of workers before staring the works. If the supervising authority while inspecting the site find any safety conditions not obeyed, the contractor will be impressed and appropriate fine. Before the works reaches 2m height  from the ground level the contractor has to store at the site minimum required helmets and safety belts.

- Inside the site every person should wear safety helmet, every person should wear and tie safety belt while working 2 mtrs. or more above the ground level.

- Openings should be barricaded neatly and it should be visible.

- All scaffolds at height should be protected with handrails, and width should be at least 500 mm. Platforms should be tied with coir string or binding wire.

- No one should climb on top without proper ladder/scaffold and scaffolding should be done by a competent and experienced employee.

- No plank should be kept untied and should have projection less than 200m m.

- While work at height is going on, the area beneath should be cordoned and passers nearby must be cautioned.

- Only authorized persons are allowed to operate cranes, winches, trailers and vehicles.

- All the electrical connections must be taken through ELCB.

- Do not smoke near combustible materials or total working area.

- Check fire hazards to prevent fire.

- Do not go under suspended load/ over head loads

21. All the conditions other than specified in this tender are same as those  current in the KSFDC.

Managing Director

I/We have carefully read the above said special conditions and comply with the same.

Signature of the tenderer

SPECIAL CONDITIONS

NAME OF WORK :- PAINTING WORKS OF ENTRANCE LOBBY AND MAINTENANCE WORK   	        GROUND LEVEL SUMP AT KAIRALI SREE THEATRE, CHERTHALA

- The Contractor is expected to visit and examine the site and satisfy himself as to the conditions of the site, the extent and magnitude of the work very meticulously and shall obtained generally his own information on all matters effecting the execution of the works. The rate quoted by him for the work in the schedule shall include all the cost and overheads charges. No extra charge paid in consequence of any of these points or as the ground of insufficient description will be allowed.

- A very high standard of workmanship and speed of construction is expected for this works.

- Time is deemed to be the essence of this contract and the whole work shall be completed within the time stipulated. If the completion of the work is delayed, the KSFDC reserves the right to imposing penalty with the relevant clause of the contract.

- All materials before using incorporated in the work shall be inspected and if necessary tested before approval by the Engineer. Any work on which such materials are used without prior inspection and without approval is liable to be considered as objective and not acceptable.

- The contractor has to make his own arrangements for supply of all materials. The contractor has to bear all the related cost for transporting, storing etc. Samples of all materials such as Sheets, Pipes and its specials etc to be required for the work shall be got approval before supplying. Defective materials supplied shall be immediately removed from the site.

- Approved samples of all materials shall be deposited with the theatre.

- The Theatre has already made electrical connection and water facility at one location in the Complex. The contractor can use this facility by making further extensions, if required, at his own arrangements. However the Owner shall take no responsibility when there is any failure in the supply of water and electricity.

- After the works are completed the site should be cleaned by removing all waste materials outside the periphery of the cleared area cleared.

- All the items of the work are to be executed as per the relevant B.I.S specifications.

- The contractor should take care of all fixtures fixed it is finally taken over from him by the owner.

- Suitable and strong scaffolds and barricades should be provided for workmen for works that cannot safely be done at site.

- The dismantled materials shall be deposited with in 50 m of the building as directed by the Engineers. The working area shall be provided adequate fencing if necessary.

- Unless otherwise stated, the quality of materials and specifications and Codes of practice. In case where ISI specifications or Codes of practice are not published by the BIS, then the technical specifications appended herewith shall be followed. If both these specifications are not applicable to any item of work under this contract, the issue shall be decided by the Managing Director, whose decision shall be final.

- After laying and jointing, the pipes, fittings and sheets shall be inspected under working conditions pressure and flow. Any joint found leaking shall be redone and all leaking pipes removed and replaced without extra cost.

- All the civil works should confirm to the specifications given and in general conforms to KPWD/KWA or MDSS to the extent applicable.

- Application for water proofing chemical given over the roof slab has to be done strictly as specified by the firms and under their technical supervision. We shall agree for chemicals ROFFE, SIKA QUALCRETE, M.C. BAUCHEMIE, FOSROC, PIDILITE etc. If the contractor intends to use any other equivalent, he has to clearly indicate at the time of quoting The waterproofing  chemical  shall be allowed to be  applied over the roof only after testing the roof as specified in condition above.

- The construction works have to be got done through expert workers. The design dimension will have to be precisely maintained. In addition to the frames fabricated for maintaining the strenght of the roof members, the contractor should cast concrete cover blocks of required dimension and keep them as required to ensure that the members keep its position.

- Plastering over the waterproofing chemical has to be done within the next seven days of application as specified.

- The contractor has to keep an accurate record of daily use of materials, like cement and steel as prescribed by the authorities. The actual consumption of cement and steel shall be checked with the theoretical consumption. If the actual fall short than the theoretical, the contractor shall be penalized.

- Whenever a construction joint is introduced in a concrete slab for the addition/extension to the existing structure, the contractor has to chip the joints of the concrete portion/masonry structure  and apply adhesive chemicals such as Sika Latex of Sika Qualcrete R.B.R. of Roffe, Nitobond AR of FOSROC, Nafufil BB2 of M.C.Bauchemie  or equivalent and lay new concrete to it taking care for applying within pot life one hour or less.  This shall be insisted at no extra cost.

- The quantities given in the schedule and the size shown in the drawings are reasonably correct. However, the contractor is expected to check the measurements at site with reference to the drawings supplied, before starting the fabrication work of joineries and is bound to supply and carry out the work as per the actual measurements. The contractor is expected to supply templates to the plastering masons and get the openings corrected during the plastering stage itself.

- The contractor has to smear the aluminium sections with grease immediately after erection, to protect it from the other works. Before handing over, the contractor has to wipe of the grease and clean with appropriate solvents. If any scratch or wear happens for the section due to negligence of the contractor in protecting the surface, he shall be instructed to replace it free of cost.

- All accessories and screws visible outside shall also be of the same colour as the frames.

- The works whether fully completed or incomplete, all materials, machineries, plants, tools etc. shall remain on the risk and in the sole charge of the contractor until the complete work has been delivered to the owner and till completion certificate has been issued by the Consultant /Architect.

- A site order book has to be maintained by the contractor in the site office. The Engineer shall enter orders in duplicate regarding the works in this book in duplicate. All entries therein shall be signed by the contractor or his authorised representative within 2 days and the duplicate copy passed to the Supervising Engineer. It is the responsibility of the contractor to follow the instructions given in the site order book.

- In the case of items in which the prior approval is required as regards the colour/ designs/make of materials, the contractor shall ensure that these approvals are obtained from them sufficiently early so that no delay will occur in the execution of such works. In case there is any delay in getting the necessary approval this may be brought to the immediate attention of the authorities.

- All the conditions other than specified in this tender are same as those current in the KSFDC.

- All disputes arising out of or in connection with the contractor carrying out of the works (whether during the contract or after the completion) shall be initially referred to MD, KSFDC in writing where ...... shall be final. If the matter is not settled within the reasonable time , this can be referred to a competent court in Trivandrum.

Contractor                                                                                                            		Theatre Manager

## PROFORMA OF PRELIMINARY AGREEMENT

(To be executed on stamp paper of value Rs.500/- and submitted along with Prequalification Bid).

Preliminary agreement executed on this … day of ……………..… Two thousand and Eighteen between THE Theatre Manager, Kairali Sree Theatre, Cherthala (Hereinafter called owner) on one part and ……………………………………………………………………. ………………… ……………………………………………………………………………… (Name and address of the Tenderer) (Hereinafter called the Bounden) on the other part.

Whereas in response to the Tender notification no. ……………………………… dated …………. the bounden has submitted to the KSFDC a Tender for the work of ……………… ………………………………………………………………. …………………… specified therein subject to the terms and conditions contained in the said tender;

Whereas the bounden has also deposited with the KSFDC a sum of Rs. ………………. As earnest money for the execution of an agreement undertaking the due fulfilment of the contract in case his tender is accepted by the KSFDC.

Now THESE PRESENTS WITNESS and it is hereby mutually agreed as follows:

1.   In case the tender submitted by the bounden is accepted by the KSFDC and the contract for ……………………………………………………………………………………… is awarded to the bounden, the bounden shall within 7 days of acceptance of his tender execute an agreement with the KSFDC incorporating all the terms and conditions under which the KSFDC accepts his tender.

- In case the bounden fails to execute the agreement as aforesaid incorporating the terms and conditions governing the contract, the KSFDC shall have power and authority to recover from the bounden any loss as determined by the KSFDC by appropriating the earnest money deposited by the bounden and if the earnest money is found to be inadequate the deficit amount may be recovered from the bounden and his properties movable and immovable in the manner hereinafter contained.

- All sum found due to the KSFDC under or by virtue of this agreement shall be recoverable from the bounden and his properties movable and immovable under the provisions of the Revenue Recovery Act for the time being in force as though such sums are arrears of land revenue and in such other manner as the KSFDC may deem fit.

In witness whereof the Kerala State Film Development Corporation and Shri. …………………………………….the bounden have hereunto set their hands on the day and year first above written.

Signed by : …………………………………………………

In the presence of witness

1.  ................................

2.  ................................

Signed and delivered by Sri....................................…………., Contractor.

In the presence of witness.

1............................

2............................

TENDER FORM

The Theatre Manager

Kairali Sree Theatre

Cherthala

Dear Sir,

Sub:  Tender no. 18/T1/2008/KSFDC dated:.06.2018 for the ……………………… …… … ………  ……………………………………………………………………………

With reference to the tenders invited by you for the above proposed work,

I/We write this after having:

- Examined the detailed specifications, schedule of quantities, Notice inviting tender, terms and conditions and the Special conditions of contract drawings annexed there to (herein after called the Contract documents)

- Visited and examined the site of the proposed work and present conditions of the site and

- Acquired the request information as affecting tender.

I/We undertake to complete the whole of the work as per the attached schedule from the date of issue of intimation by you that our offer has been accepted and upon received possession of site. I/We further undertake that on failure, subject to the condition of the contract relating to extension of time, I/We shall pay agreed ‘Liquidated Damages/Penalty’ for the period during which the work shall remain incomplete.

I/We further agree to the deduction of 10% from the interim payment towards the ‘Retention money’ which will be returned as per the relevant clause in the agreement.

The EMD of Rs…………….. as DD No………………… dated …………… Drawn on ……………………………… deposited with KSFDC along with our tender documents which amount is not bear any interest should I/We fail to execute the contract when called up on to do so. I/We agree that this sum shall be forfeited by me/us to KSFDC. If I/We fail to keep the tender open as aforesaid or make any modifications in the terms and conditions of the tender which are not acceptable to KSFDC, or if after the tender is accepted. I/We fail to execute the agreement as provided in the conditions, I/We agree that the Managing Director shall without prejudice to any other right or remedy, be at liberty to forfeit the said earnest money absolutely, and also so to recover from me the entire loss that may be caused to KSFDC by re-tender or re-arrangement of the work or otherwise under revenue recovery act or as otherwise as decided by KSFDC.

Best regards,

Date:

Signature of the Tenderer

Address

TENDER SCHEDULE

NAME OF WORK :- PAINTING WORKS OF ENTRANCE LOBBY AND MAINTENANCE WORK GROUND LEVEL SUMP AT KAIRALI/SREE THEATER   CHERTHALA.

| 1 |  | APP-A :- A PAINTING WORKS |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sl. No. | Quantity | Description of work | Unit | Rate in | Amount |
|  |  |  |  | Figure | Words |  |
| 1.1 | 350 M² | White washing one/each succeeding coat to the under side of RCC slab ,beams, walls etc. after cleaning including hire and labour for all scaffolding etc. complete for all floors and all heights | M² | 48.08 | Rupees forty eight and eight paisa only | 16828.00 |
| 1.2 | 100M² | Painting with water proof cement paint one/each succeeding coat of approved quality and colour are cleaning the surface, watering including cost of all materials and labour and hire and labour for all scaffolding etc for all floors and all heights. | M² | 58.70 | Rupees fifty eight and seventy paisa only | 5870.00 |
| 1.3 | 300 M² | Painting with ready mix plastic emulsion paint one/each succeeding coat of approved quality and colour , after cleaning the surface watering including cost of all materials and labour and hire and labour for all scaffolding etc. for all floors and all heights. | M² | 85.58 | Rupees eighty five and fifty eight paisa only | 25674.00 |
| 1.4 | 150 M² | Painting with exterior emulsion paint ( of ACE of asian paint or equivalent ) one /each succeeding coat of approved colour , after cleaning the surface watering including cost of all materials and labour and hire and labour for all scaffolding etc. for all floors and all height. | M² | 192.12 | Rupees one hundred ninety two and twelve paisa only | 28818.00 |
| 1.5 | 50 M² | Painting with synthetic enamel paint of approved quality and colour, one /each succeeding coat after rubbing and cleaning the surface over a priming coat where ever required including hire and labour for scaffolding and cost of all materials etc. complete to the wooden/ iron surface | M² | 79.46 | Rupees seventy nine and forty six paisa only | 3973.00 |
| 1.6 | 30M² | Painting with polythene based paint ( touch wood ) one/each succeeding coat after cleaning the surface including the cost of all materials and labour etc. | M² | 177.90 | Rupees one hundred and seventy seven and ninety paisa only. | 5337.00 |
|  |  | TOTAL (APP:A ) |  |  |  | 86500.00 |
| 2 |  | APP-B :- MAINTENANCE WORK OF SUMP |  |  |  |  |
| 2.1 | 3M3 | Dismantling and removing old damaged sump wall of any thickness of concrete or brick in cement mortar including disposal of debris with in a distance of 150 m. | M3 | 2253.10 | Rupees twenty thousand two hundred fifty three and ten paisa only | 6579.30 |
| 2.2 | 10 M3 | Earth work excavation in ordinary soil for foundation and deposting with all lead and lift and refilling the trenches and including bailing out water if necessary including cutting remaining the roofs etc. complete. | M3 | 389.80 | Rupees three hundred eighty nine and eighty paisa only | 3898.00 |
| 2.3 | 2 M3 | Masonry with hollow concrete block of any thickness of wall in cement mortar 1:8 ( hollow concrete block made out of cement concrete 1:4:8 With 6 mm broken stones ) for compound wall including cost and conveyance of all materials , labour charges, hire and labour scaffolding, curing etc complete. | M3 | 7363 | Rupees seven thousand three hundred and sixty three only | 14726.00 |
| 2.4 | 5 M3 | Reinforced cement concrete work excluding the cost of centering shuttering finishing and reinforcement with 1:2:4 ( 1 cement :2 course sand : 4 graded stone aggregate 20 mm nominal size ) for side wall and floor of sump | M3 | 9230.75 | Rupees nine thousand two hundred thirty and seventy five paisa only | 46153.20 |
| 2.5 | 40M² | Centering and shuttering including strutting propping etc and removal of form for all heights. | M² | 300.43 | Rupees three hundred and forty three paisa only | 12017.20 |
| 2.6 | 1000 | Steel reinforcement for RCC work including straightening , cutting , blending , placing in position and binding all complete up to plinth level | kg | 86.65 | Rupees eighty six and sixty five paisa only | 85650.00 |
| 2.7 | 40M² | Water proofing work. Repairing, providing and laying water proofing treatment in sunken portion of WCs and bathroom etc, portico areas , verandhas, etc by applying cement slurry mixed with water proofing cement compound consisting of applying ; First layer of slurry of cement @ 0.488 kg/sq.m mixed with water proofing cement compound @ 0.253 kg/sq.m. This layer will be allowed to air cure for 4 hours , Second layer of slurry of cement @ 0.242 kg/sq.m mixed with water proofing cement compound compound @ 0.126 kg/sq.m. This layer will be allowed to air cure for 4 hours followed with water curing for 48 hours . the rate included preparation of surface , treatment and seating of all joints , corners , junctions of pipes and masonary . | M² | 462.07 | Rupees four hundred sixty two and seven paisa only | 18482.80 |
| 2.8 | 40M² | Cement plaster 1:3 (1 cement : 3 course sand ) finished with a floating coat of neat cement . 12mm thick cement plaster adding and mixing water proofing materials in the cement plaster work in preparation recommended by the manufactures for ceiling. | M² | 455.48 | Rupees four hundred fifty five and forty eight paisa only | 18219.20 |
|  |  | TOTAL (APP:- B ) |  |  |  | 205906.25 |

GRAND TOTAL - App A+ App B        = 292406.25

(Rupees Two lakhs ninety two thousand four hundred and six and

Twenty  five paisa)

I/We agree to undertake to execute the above work at*.................................

* ( Here quote any one of the following)

(1) Estimate rate.

(2) .............% (Figures) ................................................(words) below estimate rate.

(3) .............% (Figures) ................................................(words) above estimate rate. CONTRACTOR THEATER MANAGER