No.3410/T2/16/KSFDC	   		                 	             	Dt    09/09/2016

LIMITED QUOTATION NOTICE FOR SUPPLY AND INSTALLATION OF FLOOR STANDING & SPLIT AIR CONDITIONERS

Sealed quotations are invited for supply and installation of 2nos. 4.5TR floor standing   split air conditioners for Kairali/Sree Theatres, Kozhikkode.

Specifications

1.	Vertical  split floor standing AC - 2nos.

Tonnage				-	4.5TR

Variable Speed Drive motor

Energy efficient scroll compressor

Indoor noise level less than 50 - 55 decibels

Warranty	for compressor	-	3years

Warranty for product 	           -	1year

Copper piping as required

PVC drain pipe as required

Electric cables as required

stand for mounting condenser unit

Preferred Make - Blue Star, Voltas, LG, Carrier

Terms and conditions:

1.	Quotation shall be submitted on plain paper showing specifications, 	brand details warranty details of items to be used will, price inclusive of 	all taxes.

2.	Quotationer may visit the theatre site and ascertain the site conditions 	and location of work if needed.

3.	The successful quotationer has to execute an agreement for supply of 	items with KSFDC on receipt of the work order from  KSFDC.

4.	Managing Director, KSFDC reserves' the right to reject any or all 	quotations without assigning any reason whatsover.

5.	The decision of KSFDC in accepting the quotation will be final.

6.	Last date of receipt of quotations will be 3pm on 20.09.2016. The 	quotations will be opened on the same day at 4pm in the presence of 	available quotationers.

7.	Quotations shall be submitted in sealed covers superscribing 	"QUOTATION No.3410/T2/16/KSFDC QUOTATIONS FOR supply and 	installation of floor standing air conditioner at Kairali/Sree Theatres, 	Kozhikkode.

8.	A copy of quotation notice shall be enclosed with the quote duly 	signed for acceptance of the terms.

9.	Completion of work shall be two weeks from the date of issue of work 	order.

10.	Payment shall be released after  completion of   supply and installation of the units.

Managing Director

Kerala State Film Development Corporation Ltd.

Chalachithra Kalabhavan

Vazhuthacaud

Thiruvananthapuram-14.