## sch
KERALA STATE FILM DEVELOPMENT CORPORATION LTD
No.3152/T1/13/KSFDC |  |  |  | Dt.16.01.2017
Quotation notice for Overhauling of one number 50 kva Kirloskar make generator in old out door bus unit at Chitranjali Studio Thiruvallom
Schedule
Sl.No | Description | Qty | Unit | Rate | Amount
1 | ENGINE OVERHAULING :
| Replacement of Valve, Valve guide etc., Tapper Clearance Adjustment, Nozzle Testing and Fuel pump calibration, Changing of Air Inlet & Exhaust manifoldgaskets, Piston and Piston rings, CR bearing replacement, Engine Main bearing replacement, Flywheel oil seal replacement, Fly wheel ring replacement(If needed), Cylinder head reconditioning & Gasket replacement, Oil changing (including suppling oil) and all filters replacement, Radiator fan bearing replacement, Fan & Charge alternator belt replacement, Radiator & Fuel tank cleaning. Water pump & water manifold servicing., etc as required |  | LS
2 | ELECTRICAL SIDE:
a | Servicing of charge alternator & Self starter |  | LS
b | Battery replacement for Electric starting. (Excluding supply of battery) |  | LS
c | Replacement of Brush set of Main Alternator & polishing of Slip Ring |  | LS
d | Replacement of Main Alternator Bearing, Heating, Apply moisture protection paint on Main Windings & Rotor. |  | LS
3 | OTHERS :
a | Painting of Engine & Alternator (double coat) |  | LS
b | Exhaust Line Cladding, extension etc as required including supply of materials. |  | LS
c | Dismantling and removing of 50 kva generator from the old out door unit bus etc.. Complete. |  | LS
d | Installation of 50 kva generator at the substation including foundation bolt etc complete. |  | LS
Total