TENDER

FOR

SITC of Lightning Protection System (LPS)

AT

KAIRALI SREE AND NILA THEATRE COMPLEX, Thiruvananthapuram

6093/T2/21/KSFDC Dt:22.12.2021

TENDER FOR  SITC of Lightning Protection System (LPS)

AT KAIRALI SREE NILA THEATRE, THIRUVANANTHAPURAM

Owner				:	The Managing Director,

Kerala State Film Development  Corporation

Chalachithra Kalabhavan

Vazhuthacaud

Thiruvananthapuram

EMD 				:	Rs.8900/-

Time of completion		:	 14 days or along with the civil work

Date of receipt of tender	:	31.12.2021 at 3.00 P.M.

Date of opening of tender	:	31.12.2021 at 3.30 P.M.

Cost of tender form		: 	Rs.840/- (including GST)

Issued to			:	---------------------------------------

--------------------------------------

--------------------------------------

NOTICE INVITING TENDER

1.1  Tenders in item rate for the SITC of Lightning Protection System (LPS) Of Kairali Sree Nila Theatre, Thiruvananthapuram along with the UPGRADATION, are invited by The Managing Director, Kerala State Film Development Corporation, Chalachitra Kalabhavan, Vazhuthacaud, Thiruvananthapuram  14

1.2   Tenderers are strongly advised to go through tender documents in connection                  with this tender very carefully. Tenders shall be submitted through online only on                  or before 3.PM on 31/12/2021.  Any tender received after the due date and time will be rejected.

The e tender containing the followings

i) Earnest Money Deposit

ii) Tender documents including notice inviting tender, eligibility to tender, general 	terms and conditions, special conditions, particular specification, recommended 	makes.

1.3 	The received tenders will be opened at 3.30 PM on 31.12.2021 in the office of 	KSFDC ltd., Vazhuthacaud, Trivandrum - 14.  The Owner reserves the right to reject 	all or any of the tenders and to accept in whole or part of any of the tenders 	without assigning any reason for so doing.

1.4   The successful tenders will be required to sign an agreement in a form approved by the 	Owner for the fulfillment of the contract.  Both the written acceptance of the tender by 	the Owner will constitute a binding agreement between the Owner and the person so 	tendering whether such formal contract is or is not subsequently entered into.

  - a) All statutory deductions like I.T, G.S.T,  contribution to ESI, KCWW Fund etc shall be made from the amount eligible to the contractor in each part bill at current rates. The rate of deduction towards work contract tax shall be changed if the government revises the rate. Any tax omitted to be deducted in any part bill shall be deducted in the subsequent bills/final bill. The contractor shall submit the GST registration along with tender. The GST at prevailing rates is applicable to the contractor.

- All statutory payments in connection with the employment of the workmen for this                  work will be borne by the contractor.

1.6      PERIOD OF VALIDITY

The tender shall remain valid for acceptance for a period of 90 days from the date of opening of the tenders.

1.7      INSPECTION OF SITE

Every tenderer is expected to inspect the site of the proposed work and acquaint himself with the site conditions, approaches etc. before quoting his rates.  No claim whatsoever should be entertained later on the plea of any difficulties involved in the execution of work, which was or was not foreseen by the tenderer.

1.8      ALL INCLUSIVE RATES

  - The contractor’s rate must be firm and must include the cost of transportation of material to the site, all taxes such as GST and octroi, etc. and the fixing or placing in position for which the item of work is intended to be operated.  The rates quoted by the contractor shall be firm throughout the contract period and there shall be no upward revision of the rates quoted by the contractor for any reason whatsoever. It should be clearly understood that any claim for extra or any additional tax, etc. shall not be entertained in any case whatsoever once the tenders are opened. The rate quoted by the tenderer in BOQ of this tender will be taken on rate including all taxes.

1.9  Eligibility : (i) The tenderer shall be in the field of installation of lightning protection work for the last three years ( Documentary evidence to be submitted).

(ii)  shall have done 2 works of SITC of lightning protection system of order value more than 3.5 lakhs in the last 3 years (work completion certificate to be submitted).

(iii) Shall submit the client list, balance sheet of last three years (2018 to 2021)

(iv) Suppliers having valid MSME certificates will be exempted from tender fee and EMD. (Documentary evidence shall be submitted)

2. 	GENERAL TERMS AND CONDITIONS

  - For this contract and subsequent contract, unless inconsistent with or otherwise indicated by the context, the following terms shall have the meaning defined here under:-

    - `The Owner’ shall mean  The Managing Director , Kerala State Film Development  Corporation ,Chalachithra  Kalabhavan , Vazhuthacaud, Thiruvananthapuram , or his duly authorized representative to deal with matters regarding this work on his behalf.

    - `Tenderer` shall mean person, firm or corporation who has submitted a tender against invitation to tender and shall include his legal representative, successors and assigners.

    - `Contractor` shall mean person, individual or firm or company whose tender with or without later amendments has been accepted and to whom a letter of intent/work order has been issued.

    - `Contract` shall mean and include the tender notice/invitation to tender, the tender and all pertaining documents, the letter of intent, the purchase order, the correspondence exchanged after receipt of tenders and before issue of the letter of intent, the drawings, technical specifications and standard relating to the contract work and the formed agreement executed by the successful tenderer/vendor with the purchaser.

    - `Work/works` means and include all the work specified or set forth and required if any by the specification, drawings and other documents which form part of this contract or to be implied thereof or incidental thereof to be hereafter or required in such further explanatory instructions, drawings etc., as shall from time to time during the progress of the work be given by the consultant

    - The courts situated at the place where the office of the Managing Director, KSFDC is situated viz Thiruvananthapuram alone will have jurisdiction to entertain civil suits pertaining to this contract.

  - GENERAL CONDITIONS OF CONTRACT

The following general conditions of the contract shall be read in conjunction with the Special Conditions of the contract.  The following clauses shall be considered as extent and not limitations of the obligations of the contractor.

    - Tenderer should quote both in figures as well as in words the rates and amount tendered by him for each item in such a way that interpolation is not possible.  All corrections and alterations in the entries of tender papers will be signed in full by the tenderer with the date.  The tenderer shall sign at the right hand bottom of each page of the tender document.

    - The tenderer should submit a statement along with his tender giving details of the tenderer`s previous experience of similar work of comparable nature, also the  type and size of the organization owned by him.

    - Tenders which are incomplete in any respect are liable to be rejected.

2.2.4	    A.  EMD/Performance Guarantee/Security Deposit

Tenderer should deposit   for Rs.8900/- of  the  quoted  towards  EMD. If the 	tender is finalized, the tenderer shall submit 5% of the contract value as performance guarantee.  At least 50% of the performance guarantee will be in the form of treasury fixed deposit and rest in the form of Bank Guarantee. In addition to the performance guarantee and security deposit for 2.5% of the gross amount shall be deducted from the running /final bill of the contractors.  Final claims till expiry of 	defect liability period. Security deposit can be released against the Bank Guarantee on its accumulation of minimum amount of Rs.5 lakh. The minimum amount of bank guarantee shall not be less than Rs.5 lakh at a time. EMD/Performance Guarantee/Security Deposit will not bear any interest what so ever. This can be released only after the expiry of Defect Liability Period.

B. GST/Taxes , KCWW fund, ESI contribution etc at the rate prevailing at the time of payment will be deducted from each running bill and final bill.

C.  All statutory payment in connection with employment of workmen for this work will be borne by the contractor. The contractor is the employer of all the workers engaged for this work and should therefore take all required registrations and pay premiums correctly to labour welfare funds constituted by the Union Government and Government of Kerala from time to time.

2.2.5.  INSPECTION AND TESTING

Owner/authorized representative shall have all powers to inspect any portion of the equipment, examine the materials and workmanship of the contractor’s work at the site or any other place pertain to this contract.

2.2.6 MATERIALS, TOOLS AND PLANT

All materials required for the execution of the works other than those mentioned in the Special Conditions shall be supplied by the Contractor.  Materials so supplied shall have the approval of the Consultant before using on the works.  All the rejected materials shall be removed at once from the site of work at the Contractor’s own cost.

2.2.7 Tollages etc

The contractor shall pay all tollages and other royalties, rent and other payments or compensation, if any for getting all the materials required for the works.

    - Supplying requisite agency with necessary equipments for setting out and of facilitate checking of accuracy as and when necessary should be the contractors responsibility and no extra cost will be paid for that.

    - Temporary fences, shelters, watchman, danger signals and such other precautions    as are necessary for the protection of materials and to protect the public and properties of public as well will include in the rates quoted by the contractor.

    - The work site should be always kept clean of unwanted materials, rubbish etc., and all necessary safety precautions should be taken by the contractor as safety rules.

    - The final clearing will include dismantling and removing all the temporary structures put up by the contractor from the premises and cleaning off the area of work so as to make it neat and tidy to the full satisfaction of the Owner.

2.2.12        REJECTION OF DEFECTIVE EQUIPMENT & MATERIALS

If the equipment or any portion of materials thereof before it is taken over, is found to be defective or fails to fulfill the extent of the requirements, the contractor on receipt of a written notice from the Owner, shall forthwith make good the defective materials within the stipulated period mentioned in the written notice or replace the equipment at no extra cost.  Any damage caused during the transit testing etc. shall be made good by the Contractor without any extra charges.

    - MAINTENANCE

For a period of twelve months commencing immediately after taking over of the work by the “Owner” Contractors liability shall be to replace the defective parts, rectify/reconstruct the defective work that may develop in his own construction or those of his sub contractors approved by the “Owner” arising solely from faulty materials or poor workmanship.

If it is necessary for the Contractor to rectify/reconstruct any defective portions of the work under the contract, the provision of this condition shall apply to the portions of work so replaced or renewed until the expiration of three months from the date of such replacement or renewal until the end of the above mentioned period of twelve months, whichever may be later.  If any defects be not remedied within a reasonable time the “Owner” may proceed to do the work at Contractor’s risk and expense, but without prejudice to any other rights which the “Owner” may have against the contractor in respect of such defects.

    - DEFECTS   LIABILITY PERIOD

Any defect developed within `Defect Liability Period` of  12 months will have to be rectified by the contractor at their own cost and in case the defects are not rectified by the contractor, ”Owner” or their representative shall get the work done at the risk and cost of the contractor.

2.2.15 	Work treated as complete

- All the defects and liabilities notified during the period of 12 months including the alteration or addition of works or devices rectified by the contractor at his own cost and risk as suggested by the owner or his representative from time to time for the smooth functioning of the system. If the defects are not cleared by contractor the work shall be treated as completed only after its completion by the owner at the cost and risk of the contractor.

- The site is clear from all materials, site shed, etc.

- The consultant and the owner are satisfied with the job done by the Contractor and certified the work completed in all respects fulfilling the contractual obligations by the contractor.

- The contractor has submitted the reconciliation statement regarding the stores received from the “Owner” and all the surplus and salvaged materials are returned to the stores

v) All equipment, tools, plant taken from the “Owner” have been returned by the contractor.

vi Any other material, taken on loan/transfer from other agency have been returned by the contractor.

vii) All power and water supply connections taken for the execution of the works have been disconnected and all dues cleared by the contractor.

viii) Rectifications of any damage done by the contractor to the work executed have been satisfactorily done by the contractor.

ix) The works shall not be considered as complete until the consultant has certified in writing that they have been virtually completed and the Defects Liability Period shall commence from the date of such certificate.

2.2.16   BY LAWS

The contractor shall comply with by-laws and regulation of local and statutory authorities having jurisdiction over the work and shall be responsible for payment of all fees and other charges and the giving and receiving of all necessary notices and the Owner shall be kept informed of the said compliances with by-laws, payment made, notices issued and received

    - COMPLETION TIME

The work covered by the contractor shall be executed in accordance with the drawings within 14 days from the date of award of work or along with the civil work whichever is the earlier.  As this is a co-ordination work with all other contract, all efforts must be made for smooth progress of work.  The entire work must be completed with the civil, acoustic, fire, air conditioning works.

    - EXTENSION OF TIME

No extension of time will be allowed.

    - QUANTITIES

The quantities set out in the bill of quantities are the estimated quantities of the work and are approximate. They are not to be taken as the actual and correct quantities of the works to be executed by the contractor in fulfillment of his obligations under the contract.  On award of work the contractor  of his own has to estimate the actual quantities of work and to communicate to the owner.  No extra cost shall be paid for any variation in quantities.

    - MEASUREMENT AND BILLING

Wherever mode of measurement is specified, the measurement will be taken at site as per the latest IS code of practice for measurement.  The contractor or his representative shall accompany the”Owner” or their representative in taking measurements and shall agree to the measurements taken on spot.  All necessary tapes shall be of steel and shall be supplied by the Contractor.  The contractor shall then present his bill based upon the agreed and recorded measurements and as per the directions of the engineers of KSFDC. If the contractor fails to accompany the”Owner” for measurements, then he shall be bound by the measurements taken by the”Owner”.

The contractor shall raise bills once a month or for a minimum payment of 25% of contract amount.

Payment towards all interim bills will be made by the “Owner” within a time limit of 30days of presentation by the Contractor.

Period of final measurement shall be one month from the time of completion of the project.

    - POWER TO MAKE  ALTERATIONS

The Owner shall have the power to make in writing any alterations, omissions, additions or substitutions for original specifications, drawings, designs, patterns and instructions that may appear to him necessary or advisable during the progress of the work and the contractor shall be bound to carry out the work in accordance with the instructions which may be given to him by the Owner or his representative.  On submission of electrical scheme to the Electrical Inspectorate it is bound to have some changes in the panels, cables rating etc.

Such alterations, omissions, additions, substitutions shall not invalidate the contract.  Any altered additional or substituted work which the contractor may be required to do in the manner specified above as part of the work shall be carried out by the contractor on the same conditions in all respect on which the main works was agreed to be done and at the rates derived according to clause 2.2.21

    - EXTRA ITEMS

Extra items may be classified as additional, substituted, or altered items, depending on their relation or otherwise to the original item or items of work.

Rates for authorities extra items, additional, altered or substituted work as may be ordered shall be determined by the ”Owner” as follows:

    - In the case of all extra items whether additional, altered or substituted, if accepted rates for identical items provided for in the contract, such rates shall be applicable.

    - In the case of all extra items whether altered or substituted, for which similar items exist in the contract, the rates shall be derived from the original item by appropriate adjustment of cost of affected components.  The percentage excess or deduction of the contract rate for the original item with reference to the estimated rate shall be applied in deriving the rates for such items.

    - In the case of extra items, whether altered or substituted, for which similar items do not exist in the contract, the rates shall be arrived at on the basis of provision of standard data Book prevailing  schedule of rates  of Public Works Department of Kerala by adding profit of 10% and applying the contractor’s quoted percentage above or below.

    - In the case of extra items, whether additional altered or substituted, for which the rates cannot be derived from similar items in the contract, and only partly from similar items in the contract, and only partly from the public work departmental rates, the rates for such part of parts of items as are not covered in the schedule of rates shall be determined by the `Owner’ on the basis of the prevailing market rates giving due consideration to the analysis of the rate furnished by the Contractor with supporting documents, including contractor’s profit.  This shall be added on to the prevailing schedule rates (including contractor’s profit).  For the other part of the items the rates can be derived from the schedule of rates of P.W.D.

e.	 In the case of extra item whether additional, altered, substituted, for which the rates cannot be derived either from similar item of work in the contract or from the departmental schedule of rates, the contractor shall within 3 days of the receipt of order to carry out the said extra item of work, communicate to the consultant the rate which he proposes to claim for the item, supported by analysis of the rate claimed and the `Owner’ shall within one month thereafter, determine the rate on the basis or the market rate giving due consideration to the rate claimed by the contractor.

3.	SPECIAL CONDITIONS

  - Time is the essence of the contract.  Time of completion allowed is 14 days.

  - Tender shall be opened on 31.12.2021   3.30 PM

  - The letter of intent shall be issued soon followed by the formal work order.

  - Only first quality materials shall be allowed for the work.  The samples of all materials shall be got approved by the consultant before supplying for the work.

  - Necessary follow up action shall be taken by the Contractor to obtain any sanction from the Electrical Inspectorate if required.

  - The test certificate, operators manual and warranty of all equipment has to be submitted to Owner on completion of work.

  - The payment shall be made as under:-

- 70% of the  value of goods supplied/work executed at site, shall be made immediately after supply of materials/work executed at site.

- 15% of the value of goods supplied/work executed at site, shall be made immediately after completing and commissioning the equipments/work executed.

- 12.5% after rectification of defects, energizing the complete system to the full satisfaction of Owner.

- Balance 2.5% after a defect liability period of 12 months. But can be released on production of Bank guarantee (BG)

  - The rates quoted by the contractor shall include cost of all materials, conveyance, labour supervision thereof, hire of all tools and implements, incidental charges and all that is required for the completion of work.

  - The contractor is expected to visit the site and study the probable routes of transportation of material to the site before quoting.

3.14	All the items of the work are to be executed as per relevant IS specifications.

3.15	The Contractor has to agree and strictly abide to all the conditions stipulated in the tender and any offer with deviation or request for deviation are liable to be rejected.

3.16          The guarantee shall be 12 months from the date of handing over the installation duly energised.

3.17       The contractor has to prepare a time schedule for the complete work in detail and submit to Owner in triplicate within 2 days from the day of letter of intent.

3.18      	Penalty : Owner shall  impose a penalty for every work of delay as @ 1 % of total contract to a maximum of 10 % of the total contract value after which the contracts stands cancelled this will apply plan wise according to the contract value of each phase.

SPECIAL CONDITIONS – II

EARTHING & LIGHTNING PROTECTION

4.0 General

All cladding or steel work should be bonded to the earthing system, as should all structural steel work. When piles are used they should be bonded by welding and connected to earth bonding bars. All earth connections shall be visible for inspection.

    - Electrode materials and dimensions

      - The materials and minimum sizes of earth electrodes shall be as per fault level calculation.

      - Pipe earthing with 4m long electrode shall be buried in ground in vertical. The installation shall be carried out as per IS:3043 and as directed by the engineer in charge.

      - When more than one electrode is to be installed the distance between the pipe electrode shall be 5m and that between plates shall be 8m.

      - The strip or conductor electrode shall be buried in trench/ground not less than 0.5m deep.

If the conditions necessitate the use of more than one strip or conductor electrode, they shall be laid feasible, or as widely distributed as possible, in a single preferably in a number of trenches radiating

straight trench where from one point or a directed by the Engineer-in-charge.

      - All joints in copper conductor should be tinned properly.

  - Earthing Conductor

- The earthing conductor (protective conductor from earth electrode upto the main earthing

terminal/earth bus, as the case may be) shall be of the same material as the electrode, viz. GI or copper, and in the form of wire or strip as specified.

- Protective (Earth continuity/Loop earthing) Conductor

- The material and size of protective conductors shall be as specified by the Engineer-in-charge.

  - Location for Earth Electrodes

Normally an earth electrode shall not be located closer than 1.5 m from any building. Care shall be taken to see that the excavation for earth electrode does not affect the foundation of the building; in such cases, electrodes may be located further away from the building, with the prior approval of the Engineer-in- Charge.

- Lightning   Protection

- Scope

This chapter covers the detailed requirements of installation of lightning conductor system for protection of buildings against lightning. For details not covered in these specifications, reference may be made to IEC 62305 / NBC 2016 amended up to date.

- Principal   Components:

The principal components of a lightning protective system are:

  - Air terminations

  - Down conductors

  - Joints and bonds

  - Testing joints

  - Earth terminations

  - Earth electrodes.

- Materials:

The materials of air terminations, down conductors, earth termination, etc. of the protective system shall be reliably resistant to corrosion, or be adequately protected against corrosion. The material shall be of the following, as specified.

All air terminations and down conductors shall be as per the schedule of quantities.

The recommended shape and minimum sizes of conductors for use above and ground shall be conforming to relevant I.S. specifications.

- Layout

The system design and layout shall be done in accordance with IEC 62305 / NBC 2016 amended up to date and specified in the tender documents. The work shall be carried out accordingly satisfying at the same time, the requirements given below.

- Air terminations:Air termination networks may consist of vertical or horizontal conductors, or combinations of both. For the purpose of lightning protection, the vertical and horizontal conductors are considered equivalent and the use of pointed air terminations, or vertical finial is, therefore, not regarded as essential.

- A vertical air termination, where provided, need not have more than one point, and shall project at least 30 cm, above the object, salient point or network on which it is fixed.

- For a flat roof, horizontal air termination along the outer perimeter of the roof shall be

used.	For a roof of larger area a network of parallel horizontal conductors shall be

installed. No part of the roof should be more than 20 m from the nearest horizontal protective conductor.

- Horizontal air terminations should be carried along the contours such as ridges, parapets and edges of flat roofs, and where necessary, over flat surfaces, in such a way as to join each air termination to the rest, and should themselves form a closed network.

- All metallic projections including reinforcement, on or above the main surface of the roof which are connected to the general mass of the earth, should be bonded and form a part of the termination network.

- If portions of a structure vary considerably in height, any necessary air terminations or air termination network for the lower portions should be bonded to the down conductors of the taller portions, in addition to their own conductors.

- Down Conductors

- The number and spacing of down conductors shall be as specified, or as directed by the Engineer-in-charge.

- Routing

  - A down conductor should follow the most direct path possible between the air terminal network and the earth termination network. Where more than one down conductor is used, the conductors should be arranged as evenly as practicable around the outside walls of the structures.

  - The walls of light wells may be used for fixing down conductors, but lift shafts should not be used for this purpose.

  - Metal pipes leading rainwater from the roof to the ground may be connected to the

down conductors, but cannot replace them, such connections should have

disconnecting joints.

  - In deciding on the routing of the down conductor, its accessibility for inspection, testing and maintenance should be taken into consideration.

  - Proper porcelain/ DMC supports should be used to  conductor at regular intervals.

support the lightning

- Provision when external route is not available:

  - Where the provision of external routes for down conductors is impracticable, for

example, in buildings of cantilever construction from the first floor upwards,

down conductors should not follow the outside contours of the building. To do so would create a hazard to persons standing under the over hang. In such cases, the down conductors may be housed in an air space provided by a non-metallic and non-combustible internal duct and taken straight down to the ground.

  - Any suitable covered recess, not smaller than 76 mm x 13mm, or any suitable vertical services duct running the full height of the building may be used for this purpose, provided it does not contain an unarmoured or a non-metal sheathed cable.

  - In case where an unrestricted duct is used. seals at each floor level may be required for fire protection. As far as possible, access to the interior of the duct should be available.

- The lightning protective system should be so installed that it does not spoil the architectural or aesthetic beauty of the building. The horizontal conductors above the roof shall be fixed by using drill free mechanism by using suitable clamps rigidly. Drilling above the roof should not allowed and the fixing clamps should be desined in such a way that the connection should be strong. The vertical conductors should be fixed in such a manner it shoud not exposed in visible area and does not spoil the architectural or aesthetic beauty of the building.

(Attached drawing is only for tender purpose) The contractor shall prepare & submit the drawings and get them approved from the Engineer-in-charge before the start of the work. The approval of drawings however does not absolve the contractor  not to supply the equipments/materials  as per requirement. The drawing consist   lay out drawings of the horizontal and vertical condutcors including its support details, sections, connections etc.

1. The work is to be planned and executed so as to cause least disturbance to the functioning of other activities. Materials shall be stacked only at specified locations as directed by Engineer-in-Charge to cause least obstruction to the movement of personnel in and around plant buildings.

2. The bidders are advised in their own interest to visit the proposed site of work to get acquaint themselves with the site and the working conditions as also the nature and minimum standard of work expected of them

3. The bidders shall carefully go through the clauses in the specifications, General terms and conditions including safety code, etc., and shall include in their rates any sum they may consider necessary to cover the fulfilment of the various clauses contained therein. The items of work and unit rates quoted shall be inclusive of everything necessary to complete the said items of work, within the contemplation	 of the contract. Beyond the unit rates, no extra payment will be allowed for incidental or contingent work, labour, materials and plant.

4. The rates quoted by the bidder shall also include for: - Supplying, transporting to site, unloading, protecting and installation of materials in accordance with the specifications. - Protecting all installed equipment in the area of work falling within the scope of this contract. - Following all the safety and security rules and regulations as required by the Department including deploying supervisor exclusively for safety.

5. The contractor shall bring his own tools, tackles, ladders, scaffoldings etc. required at site for installation work. Department will not provide any tool/tackles at site.

6. The electricity and water required at site (for very small tools/tackles like drilling/cutting machine) will be provided to the contractor at a single point, from where contractor have to make his own arrangement through extension boards etc. Prior to connection of electrical equipments contactor have obtain written clearance from Engineer in-charge.

7. The technician required to carry out the electrical work shall be skilled and have requisite qualification.

8. Unqualified/unskilled technician, workers will not be allowed to work at site.

9. All the safety precautions as per applicable code and practices shall be followed at site. The safety instructions issued by engineer in-charge shall be followed in all respect. The contractor will be responsible for any injury/accident occurring at site, due to any reason, department will not pay or liable for any compensation

6.	PARTICULAR SPECIFICATION

6.1	SCOPE:-

The scope of work covers installation of Lightning protection system and earthing as per standards.

6.2           GENERAL

Work shall be carried out in accordance with specification local rules.  Indian Standard Code of Practice.  Definition of terms shall be as in the I.E. Rules.

  - EARTHING

6.3.1 SCOPE

The scope of work shall cover earthing stations, laying GI earthing strips.

6.3.2  STANDARDS

The following standards and rules shall be applicable.

  - IS:3043 – 1987  Code of practice for earthing.

  - Indian Electricity Act and Rules.

All codes and standards mean the latest, where not specified other wise.  The installation shall generally follow the Indian Standard code of practice or the British Standard codes of practice in the absence of Indian standards.

6.3.3		TESTING

The following  earth resistance  value shall  be measured with an  approved earth  megger  and  recorded.

1.   Each earthing  station

2.   Earthing system  as a   whole

3.  Earth continuity conductors.

6.3.4       MODE OF MEASUREMENT

Providing earthing station complete with excavation, electrode, watering pipe, tope connector and interconnection for electrode, soil treatment , masonry chamber, concrete cover etc., shall be treated as one unit of measurement.

7                  RECOMMENDED  MAKES OF MATERIALS

| No | ITEM DECRIPTION | RECOMMENDED MAKE |
| --- | --- | --- |
| 1 | Solid Al round conductor, Test joint G.I Strip | Cape , Erico, Furse, obo bettermann, Dehn, Excel or equivalent |

EXTRA ITEMS

8.1 Any item of work that do not find a place in the schedule of quantities, in the original

tender or in the accepted tender which has been directed by KSFDC to execute is deemed

as an extra item of work. All such works that are necessary to be carried out under the

direction of  KSFDC  shall be carried out by the contractor. No such variation will violate the Contract.

8.1.1 Extra items of work thus carried out by the contractor will be paid at the rates worked out by KSFDC

8.2    WATER AND ELECTRICITY

8.2.1 The contractor shall make his own arrangement for water and electricity required for the

work. KSFDC  shall take no responsibility for the supply of either electricity or water

.

8.3      INSURANCE

The successful tenderer shall take out Contractor’s All Risk (CAR) insurance policy, jointly

in the name of  KSFDC Projects  and the contractor, and the original policy

shall be deposited with KSFDC.

8.4 This Notice Inviting Tender (NIT) will form part of the tender document and the

agreement executed by the successful tenderer.

MANAGING DIRECTOR,

KERALA STATE FILM DEVELOPMENT CORPORATION.

## PROFORMA OF PRELIMINARY AGREEMENT

(To be executed on stamp paper of value Rs.200/- and submitted along with tender).

Preliminary agreement executed on this ……day of ……………..… Two thousand Twenty One  between THE KERALA STATE FILM DEVELOPMENT CORPORATION LTD. (KSFDC), VAZHUTHACADU, THIRUVANANTHAPURAM (Hereinafter called owner) on one part and ……………………………………………………………………. ………………… ……………………………………………………………………………… (Name and address of the Tenderer) (Hereinafter called the Bounden) on the other part.

Whereas in response to the Tender notification no. ……………………………… dated …………. the bounden has submitted to the KSFDC a Tender for the SITC of Lightning Protection System (LPS) at Kairali Sree Nila Theatres of KSFDC at Thiruvananthapuram ……… ………………………………………………………………. …………………… specified therein subject to the terms and conditions contained in the said tender;

Whereas the bounden has also deposited with the KSFDC a sum of Rs. ………………. as earnest money for the execution of an agreement undertaking the due fulfillment of the contract in case his tender is accepted by the KSFDC.

Now THESE PRESENTS WITNESS and it is hereby mutually agreed as follows:

1.   In case the tender submitted by the bounden is accepted by the KSFDC and the contract for ……………………………………………………………………………………… is awarded to the bounden, the bounden shall within 3 days of acceptance of his tender execute an agreement with the KSFDC incorporating all the terms and conditions under which the KSFDC accepts his tender.

- In case the bounden fails to execute the agreement as aforesaid incorporating the terms and conditions governing the contract, the KSFDC shall have power and authority to recover from the bounden any loss as determined by the KSFDC by appropriating the earnest money deposited by the bounden and if the earnest money is found to be

inadequate the deficit amount may be recovered from the bounden and his properties movable and immovable in the manner hereinafter contained.

- All sum found due to the KSFDC under or by virtue of this agreement shall be recoverable from the bounden and his properties movable and immovable under the provisions of the Revenue Recovery Act for the time being in force as though such sums are arrears of land revenue and in such other manner as the KSFDC may deem fit.

In witness whereof the Kerala State Film Development Corporation and Shri. …………………………………….the bounden have hereunto set their hands on the day and year first above written.

Signed by : …………………………………………………

In the presence of witness

1.  ................................

2.  ................................

Signed and delivered by Sri....................................…………., Contractor.

In the presence of witness.

1............................

2............................