I. SUMMARY OF NOTICE INVITING TENDER

1. Name of work	DESIGN, ENGINEER, INSTALL, TEST, COMMISSION AND SERVICE THE AIR-CONDITIONING SYSTEMS

FOR CHITRANJALI STUDIO, TRIVANDRUM

2. Tender No.     				 		3923/T2/17/KSFDC

3. Name and address of the owner				Managing Director

KSFDC,

Vazhuthakaud

TRIVANDRUM - 14

4. Date of commencement of work 				5 days from the receipt of work order

5. Period of completion of works 				21 days from the date of work order

6. Period of measurement	1 Months from the date of and evaluation.

7. Interim payments	Minimum value of 5% of contract amount.

8. Defects liability period.	12 Months from the date of Commissioning

9. Place of issue of tender					Managing Director

KSFDC,

Vazhuthakaud

TRIVANDRUM - 14

10. Place of receipt of tender				Managing Director

KSFDC,

Vazhuthakaud

TRIVANDRUM - 14

11. Security deposit	2.5 % the contract amount

12. The firm period of tender	3 months from the date of submission

13. Escalation	No escalations

14. Earnest money deposit (EMD)	Rs.7,000/-

15. Last date of receipt of tender	3 PM on 05.10.2017.

16. Date and time of opening of tender	4 PM ON 05.10.2017

17. Tender cost	Rs.670/- (Including GST)

18.  Penalty	1( of contract value per week up to a maximum of 10( of PAC.

OWNER

ANNEXURE 2

NOTICE INVITING TENDER

TENDER FOR AIR-CONDITIONING SYSTEM FOR

CHITRANJALI STUDIO, TRIVANDRUM

1.  Sealed tender in Item rate for the AIR-CONDITIONING SYSTEM FOR KSFDC  - CHITRANJALI STUDIO TRIVANDRUM are invited by Managing Director, KSFDC, TRIVANDRUM  (here in after referred as OWNER) from well-reputed contractors qualified for executing such works. Drawings are available along with the tender.

Tenderers are strongly advised to go through tender documents in connection with this contract

very carefully.

1.2) Eligibility to tender

i) The tenderer shall be an original equipment manufacturer or their appointed dealer.

ii) They should have done three works of order value above 2 lakhs for air conditioning contracts  in the last 3 years.

Tenders of eligible tenderers only will be considered. Documents evidence for eligibility shall be uploaded.

1.3) Sealed tenders shall be submitted through online only on or before 3 pm on 05/10/2017. Any tender received after the due date and time will be rejected.

1.4) The Sealed tender containing the followings.

1. 	Earnest Money Deposit as specified

2.  Tender documents including notice inviting tenders, eligibility to tender, conditions of contract, general obligations, special conditions, articles of agreement, Technical specifications, BOQ, schemes.

3. 	GST registration details shall be enclosed. The original should be produced if requested.

4. 	Organization chart giving details of field management at site that the tenderer proposes to have for this job.

2.	Received Tenders will be opened at 4.PM on 05.10.2017 in the office of KSFDC ltd, Vazhuthacaud, Trivandrum - 14

a.	After the public opening of the tenders, the information relating to the examination, clarification, evaluation and comparison of tenders and recommendations concerning the award of contract shall not be disclosed to the Tenderers and other persons not officially concerned with such process.

b.	Owner reserves the right to accept any tender, and to reject any or all tenders. Owner will award the contract to the tenderer whose bid has been determined to be substantially responsive to the tender Documents and who has offered the lowest Evaluated Tender Price provided further that the tenderer has the capability and resources to carry out the Contract effectively.

c. 	Prior to the expiry of the period of validity of the tender Owner will notify the successful tenderer in writing by registered letter that his tender has been accepted.  This letter (herein after referred as letter of acceptance) shall name the sum, which Owner will pay to the contractor in consideration of the execution, completion, operation, maintenance and guarantee of the works by the contractor as specified by the contract (herein after called the contract price). This letter of acceptance will constitute the formation of a contract.

3. Tenders not properly filled, mutilated with incorrect calculations or generally not   complying with the conditions may be rejected.

4.  	In case of schedule of rate contract the Tenderers should quote their rates both in figures and in words.  The schedule of quantities must be fully priced with the rates quoted for the unit rate specification and the total of each page along with carried over figures of the previous page shall be given in ink and signed by the tenderer.  No blank space shall be left.  Figures in words shall be deemed to be final figures in case of cuttings or overwriting.  For percentage rate contract only a single rate as an overall percentage above or below or at the rate given in the schedule by a single entry at the bottom of the schedule under the head quoted rate, may be made.  The overall percentage rate accepted and specified in the agreement shall not be varied on any account whatsoever.

5.  	If the tender is made by an individual, he shall sign it with his full name and his complete address shall be given. If it is made by partnership firm it shall be signed with the co-partnership name by a member of the firm who shall sign his own name and give the name and address of each partner of the firm and attach a copy of  'Power of Attorney' with the tender authorizing him to sign on behalf of the other partners.  A certified copy of the ‘Registered Partnership Deed’ shall also be submitted along with the tender.  In case the tender is made by or on behalf of a company incorporated under the Companies Act, 1956, it shall be signed by the Managing Director or by one of the Directors duly authorized on this behalf and shall include a copy of the  ‘Power of Attorney’ with the tender.  A certified copy of the registered deed shall also be submitted along with the tender.  The tender should be in a sealed cover.

6.	Procedure for submission and opening of tenders

Sub mission and  opening of tender by way of e tender. Addenda/Corrigenda to the tender documents may be issued prior to the opening of the tender to clarify documents or to reflect modification in the design or contract terms. All addenda/corrigenda issued by the owner/Consultant /Tenderer shall become part of the tender documents. No conditions that will have price implications shall be included in the price details.

7.   	All pages to be initialed

All signatures in the tender document shall be dated as well as all the pages of all sections of tender documents shall be initialed at the lower right hand corner or signed wherever required in the tender papers by the tenderer or by a person holding power of attorney, authorizing him to sign on behalf of   the tenderer before submission of tender.

8.   	Rates to be in figures and words

The tenderer should quote in English in figures as well as in words, the rates and amount tendered by him in the schedule of quantities as per proforma submitted by the contractor for each item and it should be done in such a way that interpolation is not possible. The amount for each item should be worked out and entered and the requisite total of all items should be given in both in figures and in words. The tendered amount for the work shall be entered in the tender and duly signed by the tenderer.

- Corrections and Erasures

All corrections and alterations in the entries of tender paper should be signed in full by the tenderer with date. No erasures or overwriting are permissible.

- Witness and Sureties

Witness and sureties shall be persons of status and propriety and their names, occupation and address in full shall be stated below their signature.

11. 	Transfer of tender documents

Transfer of tender documents purchased by one intending tenderer to another is not permissible.

12. Addenda/Corrigenda

Addenda/Corrigenda to the tender documents may be issued prior to the opening of the tender to clarify documents or to reflect modification in the design or contract terms. Each Addendum/ Corrigendum issued by the owner will be distributed in triplicate to the organization to which tender documents have been issued. Each recipient will retain one copy of each addendum/corrigendum for submission along with his tender and return one signed copy to owner as acknowledgment of receipt of the same. All addenda/corrigenda issued by the owner shall become part of the tender documents.

13.  Filling of Tender

It is very important that the tender should be submitted complete in every respect, including filling up of all the questionnaires attached to the tender papers. Incomplete tenders are liable to be rejected.

14.  Tender documents and specification drawings

The tenderer shall return the original and duplicate of the tender documents and specification drawings along with the tender.

15.       Performance Guarantee/Security Deposit

Tenderer  should  deposit   for Rs.7,000/- of  the  quoted  towards  EMD. If the 	tender is finalized, the tenderer shall submit    ie. 5% of the contract value as 	performance 	guarantee.  Atleast 50% of the performance guarantee will be in the 	form of treasury fixed deposit and rest in the form of Bank Guarantee.  In addition to 	the performance guarantee and security deposit for 2.5% of the gross amount shall 	be deducted  from the running /final bill of the contractors.  Final claims till expiry of 	defect liability period. Security deposit can be released against the Bank Guarantee 	on its accumulation of minimum amount of Rs.5 lakh.  The minimum amount of bank 	guarantee shall not be less than Rs.5 lakh at a time.

16.	LABOUR WELFARE FUND

The successful Tenderer shall deposit a premium of 1% of the contract value to the Kerala Construction Workers Welfare Fund (KCWWF).

17.	Income-tax and all statutory levies at the rate prevailing at the time of payment will be deducted from each running bill and final bill.

18.	All statutory payments in connection with the employment of the Workmen for this work will be borne by the Contractor. The contractor is the employer of all the workers engaged for this work and should therefore take all required registrations and pay premiums correctly to labour welfare funds constituted by the union Government and Government of Kerala from time to time.

19.	GST at prevailing rates is applicable to the contract. Contractor must include GST number of firm and contractor,  while submitting invoice

20.	 PERIOD OF VALIDITY

The tender shall remain valid for acceptance for a period of 90 days from the date of submission of the tenders.  If any Tenderer withdraws his tender before the said period or makes any modifications in terms and conditions of the tender, then “owner” has the liberty to forfeit the said Earnest Money Deposit.

21.	INSPECTION OF SITE

Every Tenderer is expected to inspect the site of the proposed work and acquaint himself with the site conditions approaches, availability of raw materials, geological and weather conditions etc. before quoting his rates. He must go through all the drawings, specifications and other tender documents.  Any further clarifications in the drawings and documents can be had from the consultant’s at the above-mentioned address.

22.	QUANTUM OF WORK

A schedule of approximate quantities for various items accompanies this tender. It shall be definitely understood that "OWNER” do not accept any responsibility for the correctness or completeness of this schedule in respect of items and quantities and this schedule is liable to alteration by deletions, deductions, or additions at the discretion of "OWNER" without affecting the terms of the contract.

23.	ALL INCLUSIVE RATES

The contractor's rate must be firm and include the cost of transportation of material to the site, taxes such as GST etc. and the fixing or placing in position for which the item of work is intended to be operated. The rates quoted by the Contractor shall be firm throughout the contract period and there shall be no upward revision of the rates quoted by the contractor for any reason whatsoever. In addition to the statutory deductions towards Income Tax, work contract tax shall be deducted on the state government at the current rates. However the rate of deduction towards work contract tax shall be changed if the government revises the rates. And also deductions shall be made towards any other tax imposed by the government. It should be clearly understood that any claims for extra.

24.	INTERPRETING SPECIFICATIONS

In interpreting the specifications, the following order of decreasing importance shall be followed:

a) Schedule of Quantities

b) Unit Rate Specifications & Technical Specifications.

c) Drawings

d) General specifications

Matters not covered by the specifications given in the contract shall be as per the relevant Indian Standard Codes. If such codes on a particular subject have not been framed, the decision of the consultant shall be final.

25.	No alterations shall be made by the tenderer in the Notice Inviting Tenders, Instructions to the Contractors, Contract form, Conditions of Contract, Drawings and Specifications and if any such alterations are made or any special conditions attached, the tender is liable to be rejected.

26. 	The acceptance of a tender shall rest with the Authorized Representative of “OWNER”, who does not bind himself to accept the lowest tender and reserves to himself the authority to reject any or all the tenders received without assigning any reason(s) whatsoever.

27.	 The authorized representative of “OWNER” reserves the right of accepting the whole or any part of the tenders received and the Tenderer shall be bound to perform the same at the rate quoted.

28. The work shall be carried out under the direction and supervision of OWNER or their representative at site.  On acceptance of the tender, the contractor shall intimate the name of his accredited representative who would be supervising the construction and would be responsible for taking instructions for carrying out the work.

29.	Owner’s decision with regard to the quality of the material and workmanship will be final and binding, any material rejected by owner shall be immediately removed by the contractor.

30.	SUB-LETTING

No part of the contract shall be sublet without the written permission of the consultant and OWNER nor shall transfers be made by 'Power of Attorney' authorizing others to carryout the work or receive payment on behalf of the Tenderer.

31.	DEFECTS LIABILITY PERIOD

Any defect developed within 'Defect Liability Period' of 12 months will have to be rectified by the contractor at his own cost. In case the defects are not rectified by the contractor,  "OWNER” or their representative shall get the work done at the risk and cost of the contractor.

#### Guarantee and defects liability period

The contractor shall guarantee that all equipments are free from any defect due to the defective materials and poor workmanship, that the equipments operate satisfactorily and that the performance and efficiencies of the equipments are not less than the guaranteed values.  The guarantee shall be valid for a period of 12 months after successful first seasonal testing and taking over and any part found defective shall be replaced free of all costs by the contractor. The services of the contractor's personnel if requisitioned during this period for such work shall be made available free of any cost to the owner. The AMC period shall only start from the date of the expiry of the defects liability period.

If the defects are not remedied within a seasonable time, the owner may proceed to do so at the contractor's risk and expense without prejudice to any other rights.  The guarantee shall be extended to all the components, consumables, refrigerant gas & oil, V-belts etc including machinery. If the defects are beyond repair, as judged by the consultant, the same shall be replaced with new machineries at no additional cost to the owner.

32.	DELAYS IN COMMENCEMENT

The contractor shall not be entitled to any compensation for any loss suffered by him on account of delays in commencing or executing the work, whatever the cause for such delays may be including delays in procuring Government Controlled or other materials.

33.	OCCUPATION IN PART

If OWNER wants to occupy areas in part, the contractor shall complete the work of these areas in conjunction with OWNER and hand over the same to OWNER without affecting any of the clauses of contract agreement.

34.	The contractor should inspect the source of material, their quality, quantity and availability.  The material must strictly comply with the relevant I.S. specifications.

35.	The contractor must co-operate and co-ordinate with other contractors involved in other works on the site.  The contractor should also note that they shall have to clear the site of vegetation, debris etc. before the commencement of the work and that no extra payment is permissible on this account.

36. PERIOD OF CONTRACT

Time is deemed to be the essence of this contract. The total time of completion can be considered as 21 days from the date of commencement of work. From the date of receipt of work order, 7 days will be given to start the work. Owner will not be responsible, if the commencement of work is delayed by the Tenderer, without valid reasons approved in writing by the owner. If the delay is due to any problem in the site or due to any act of the owner, the tenderer must inform the same to the owner in writing, at that time itself.

Commencement of the work shall be considered from the 5th day on receipt of work order. The contractor shall draw a detailed schedule of programme in the form of BAR CHART on the whole work, within one week of award of work and submit to the consultant for his approval.

- PENALTY

OWNER shall levy a penalty for every week of delay at the rate of 1% of the total contract to a maximum of 5% of the total contract value after which the contract stands cancelled. This will apply phase wise according to the contract value of each phase.

38.	CONTRACTOR'S STORE AND SITE OFFICE

Suitable area near the site of work shall be allowed to the contractor free of cost for storing his tools and plants, materials and for his site office and cement go-down.  However, the structure will be provided by him at his own expense and he will be solely responsible for guarding his property and shall cover his property with requisite insurance against theft, fire etc. The contractor shall vacate the said premises and hand over the same on the date of handing over of site to the owner. The contractor however will have to dismantle the sheds and vacate the land of all debris etc. at his own expense after completion of work.

39. 	MEASUREMENTS AND BILLING

Wherever mode of measurement is specified, the measurement will be taken at site as per the latest IS code of practice for measurement.

The contractor or his representative shall accompany owner or their representative in taking measurements and shall agree to the measurements taken on spot.   All necessary tapes shall be of steel and shall be supplied by the contractor. The contractor shall then present his bill based upon the agreed and recorded measurements and as per the directions of the Consultant. If the contractor fails to accompany owner for measurements, then he shall be bound by the measurements taken by owner.

The Contractor shall raise bills once a month or for a minimum payment of 10 % of contract amount.

Payment towards all interim bills will be made by owner with in a time limit of 30 days of presentation by the contractor.

Period of final measurement shall be One month from the time of completion of the project.

#### 40.	INTERIM & FINAL CERTIFICATES

The contractor may at the appropriate times and in the manner indicated below apply for interim and final certificates for plant delivered or any work executed on the site.

Application for interim certificates may be made to the owner from time to time during the progress of works, when a minimum amount of 5% of contract value becomes due to be paid to the contractor. Each such application shall state the amount claimed. Each such application shall be in detail, set forth in the order of, the priced bill of quantities, the particulars of the works executed on the site and the machinery/material delivered to the site pursuant to the contract up to a date named in the application and since the period covered by the last preceding certificate if any. No interim certificate shall be relied on as conclusive evidence of any matter stated therein, nor affect or prejudice any right of the owner. Every interim certificate shall certify the total value of the work duly executed on the site for use in the works pursuant to the contract up to the date named in the application for the certificate, less the said total value so certified in the last previous certificate if any provided. The value of any plant delivered and work done, which according to the decision of the owner/his assignee, does not comply with the contract, shall not be included in any such certificate.

Application for the final certificate may be made to the owner/his assignee at any time after the contractor has ceased to be under any obligation under condition "maintenance and training of personnel". A final certificate shall certify that the total value of all work done and plant supplied according to the contract subject to such additions thereto or deductions therefrom as may be authorized. A final certificate shall save in the case of fraud or dishonesty relating to or affecting any matters dealt with in the certificate and save as regards defects and insufficiencies in the works that a reasonable examination would have disclosed be conclusive evidence as to the sufficiency of the works and the value they’re of.

The owner may in any certificate give effect to any correction or modification that should properly be made in respect of any previous certificate.

The unit rate for items like ducting, piping, insulation, etc., shall be furnished by the contractor. The plus or minus quantities will be adjusted in the final measurement and the payment will be made as per unit rates indicated in the offer. It is incumbent on the contractor to ensure that security and retention are sufficient to cover all possible liabilities pertaining to losses, if any arising out of poor workmanship and the amount that may be required towards the risk and cost, if any of the contractor, in case alternative arrangements are made and any other dues of a miscellaneous nature.

41.	MODE OF MEASUREMENT

The following measurement code shall apply to this contract: -

Sheet Metal Work

a.  	Ducting:

i.   	All sheet metal ducting work will be measured in terms of final sheet area installed in SQ. METERS.

ii.  	 No measurement of vanes, splitters, duct dampers, deflectors, access doors, etc. which are   required to be installed in the ductwork shall form part of the ductwork.

iii. 	Duct fittings such as bends, elbows, tap-offs, collars, transformation pieces etc. shall be treated as ordinary duct pieces with their length measured along their centerline.

iv.  	No duct supports, stiffening, members, etc. shall be measured separately.  All such supports/hangers shall form part of ductwork.

v.   	Equipment connections such as canvas/asbestos/Rexene shall be deemed to be part of the ductwork and no separate measurement will be allowed.

b)	Grilles:

All grilles will be measured in terms of effective area (e.g. 600mm x 150mm grille will be measured as 0.09 Sq.  Meter

c)	Diffusers:

Diffusers will be measured in terms of diameter of each diffuser in centimeters.

d)	Dampers

i)	All duct dampers shall form part of ductwork; no separate measurement will be made for duct dampers.

ii)	Fire dampers will be measured in terms of effective area in Sq. metre.

Insulation

a)	Ducting Insulation

i)	Ducting insulation will be measured on the basis of centerline of insulation and not the outer line of insulation.

Example:  Measurement 25 mm thick insulation on 600 mm x 300 mm duct 1 metre length.

[(600 + 25) + (300 + 25] 2 x 1 metre

ii)	No special measurement shall be made for insulation of bends, transformation pieces, tap offs, elbows etc.  All such insulation shall be treated as standard duct insulation.

iii)	Insulation item shall include all accessories and finishes as specified.  No separate measurement will be made for such items.

b)	Piping Insulation

i)	Piping insulation shall be measured in linear lengths for each size of pipe.

Example:  50mm dia. pipe insulation (25 mm thick) - 6 meters.

ii)	No separate measurement of insulation shall be made for fittings such as bends, elbows, reducers, expanders, tees, crosses, flanges, etc.  All such insulation shall be linear in metres measured along the centerline of piping.

iii)	All accessories and finishes connected with insulation work shall be deemed to form pat of insulation and no separate measurement will be made for such items.

iv)	Insulation of valves will be measured as a unit for a particular size of valve.

Example:  50 mm dia. valve insulation (25 mm thick) - 1 No.

- Equipment Insulation

No measurement for insulation of any equipment will be made. Insulation of equipment shall be deemed to form part of the equipment.

- Electrical Work:

- All cables shall be measured in running lengths as finally installed at site.  No wastage measurement will be allowed.

b) 	Control cable/wiring for AC plant, panel board shall be treated as a lump sum item.

c) 	All measuring instruments, indicating lamps, etc. shall form part of the equipment specified and no separate measurement shall be made for such items.

d)	Return air boxing, roof insulation etc. linear length and breadth measurements will be taken to compute the area.

42.	EXTRA ITEMS

Extra items may be classified as additional, substituted or altered items, depending on their relation or otherwise to the original item or items of work. Rates for authorised extra items, additional, altered or substituted work as may be ordered shall be determined by OWNER as follows:

a.  	In  the case of all extra items whether additional, altered or substituted, if accepted rates for identical items provided for in the contract, such rates shall be applicable.

b. 	In the  case  of  extra items  whether  altered  or substituted, for which  similar items  exists in the contract, the rates shall be derived from the original item by appropriate adjustment of cost of affected components.

c.	In the case of extra item whether additional, altered, substituted, for which the rates cannot be derived either from similar item of work in the contract or from the departmental schedule of rates, the Contractor shall within 14 days of the receipt of order to carry out the said extra item of work, communicate to the Engineer the rate which he proposes to claim for the item. This shall be supported by analysis of the rate claimed and the Owner shall within one month thereafter, determine the rate on the basis of the market rate giving due consideration to the rate claimed by the Contractor.

43.	WATER AND ELECTRICITY:

The owner may make arrangement for water and electricity required for the works at one point on chargeable basis and the contractor to provide a meter and further distributions. OWNER takes no responsibility for the supply of either electricity or water continuously.

44. 	INSURANCE:

The successful contractor shall take out Contractor's All Risk (CAR) insurance policy, jointly in the name of OWNER and the contractor, and the original policy shall be deposited with OWNER.

The contractor shall be responsible for all injury to person, animals or things, and for all damages to structural and decorative works and property which may arise from the operation or neglect of himself or of any nominated sub-contractor or any employee of either, whether such injury or damage arises from carelessness, accident or any other cause whatever in any way connected with the carrying out of this contract. This clause shall be held to include inter alias, any damage to buildings, whether immediately adjacent, footpaths, bridges or ways as well as all damage caused by frost, rain, winter other inclemency of weather. The contractor shall indemnify the employer and hold the employer free from liability in respect of all and any expenses arising from any such injury or damage to persons or property as aforesaid and also in respect of any claim made in respect of injury or damage under any acts of legislature or otherwise and also in respect of award of compensation or damages consequent upon such claim. The contractor shall reinstate all damage of every sort mentioned in this clause, so as to deliver up the whole of the contract works complete and perfect in every respect and so as to make  good or otherwise satisfy all claims for damages to the property of third parties.

The contractor shall indemnify the employer against all claims which may be made against the employer by any member of the public or other third party in respect of anything which may arise in respect of the works or in consequence thereof. He shall, at his own expense, arrange to effect and maintain until the virtual completion of the contract with an approved office a policy of insurance in the joint names of the employer and the contractor against such risks and deposit such policy or policies with the engineer from time to time during the currency of this contract. The contractor shall also similarly indemnify the employer against all claims which may be made upon the employer whether under the workmen's compensation act or any other statute in force during the currency of this contract at common law, in respect of an employee of the contractor or any sub-contractor and shall at his own expense effect and maintain, until the virtual completion of the contract with an approved office a policy of insurance in the joint names of the employer and the contractor against such  risks and deposit such policy or policies with the engineer from time to time during the currency of the contract. The contractor shall be responsible for any liability, which may be excluded from the insurance policies above referred to, and also for all other damages to any person, animal or property arising out of an  incident due to the negligence or defective carrying out of this  contract. He shall also indemnify the employer in respect of any costs, charges or expenses arising out of any claim or proceedings and damages arising there from. The employer shall with the concurrence of the engineer be entitled to deduct the damage compensation costs, charges and expenses arising or occurring from or in respect of any such claims or damage from any or all sums due to the contractor, without prejudice to the employer's other rights in respect thereof.

#### Fire insurance

The contractor shall, within 14 days from the date of commencement of the works insure the works at his cost and keep them insured until virtual completion of the works against loss or damage by fire with an office to be approved by the engineer in the joint names of the employer and the contractor (the name of the former being placed first in the policy) for the full amount of the contract and for any further sum if called upon to do so by the engineer. The premium of such further sum being allowed to the contractor as an authorised extra. Such policy shall cover the property of the engineer only and the consultant’s and surveyor’s fee for assessing the claim and in connection with his services generally in the reinstatement shall not cover any property of the contractor. The contractor shall deposit the policy and receipts from the commencement of the works, unless otherwise instructed by the engineer. In default of the contractor insuring as provided above, the employer or the engineer on his behalf may so insure the works and may deduct the premiums from any amount due or which may become due to the contractor without prejudice to the other rights of the employer in respect to such default. In case it becomes necessary to suspend the work's the contractor shall, as soon as the claim under the policy is settled, or the work rein- stated by the insurance office, should they elect to do so, proceed with all due diligence with the completion of the works in the same manner as though the fire had not occurred and in all respects under the same conditions of contract. The contractor in case of rebuilding or reinstatement after fire shall be entitled to such extension of time for completion as the engineer deems fit. The amount so due as aforesaid shall be the total value of the works duly executed and of the contract materials and goods delivered upon the site for use in the works up to and including a date not more than 7 days prior to the date of the said certificate less the amount to be retained by the employer (as hereinafter provided) and less any installments previously paid under this clause provided that such certificate shall not only include the value of the said materials and goods and from time to time and they are reasonably proper and not prematurely brought upon the site and then only if properly stored and/or protected against weather.

### 45.	SAFETY CODE

1.	 A portable single ladder more than 8 mt. in length will not be allowed for the execution of the work. The width between the side rails shall not be less than 30 cms. (Clear) and the distance between two adjacent rungs shall not be more than 30 cms. It is compulsory that an extra mazdoor should be engaged for holding the ladder whenever the ladder is used.

2.	It is compulsory that the contractor should maintain in a readily accessible place the first aid appliance, including supply of sterilized dressings and cotton wool.

3. 	It is the contractor’s responsibility to take the injured person immediately to a public hospital without loss of time.

4. 	It is compulsory that the excavated material shall not be placed within 1.5 mts. of the edge of the trench or half of the depth of the trench, whichever is more. All trenches and excavations shall be provided with adequate fencing and lighting arrangement by the contractor.

5. 	Scaffolding should be provided for workmen for all works that cannot be safely done from the ground.

6. 	It is compulsory that the floor, roof or other parts of the structures, should not be overloaded with debris or materials, which will invite danger to the workmen.

7. 	Welders engaged in welding shall be provided with welders' protective eye-shields and gloves.

8. 	It is compulsory that painters should be provided with facemask for painting whenever spray painting has to be done.

9. 	The workers employed for mixing and handling materials, such as asphalt, cement mortar, concrete or lime mortar, shall be provided with protective footwear and rubber hand gloves.

10. In hoisting machines and tackles including their attachments, anchorage and supports for erection of equipment shall be in perfect condition.

11. The ropes used for hoisting materials shall be durable quality  and strength.

12. Safeguards for Environmental Protection shall be the responsibility of the contractor during the continuance of the contract. He shall be duty bound to look after the affairs of the site, finished or semi finished works, his worksite, office, store, etc. in a neat and tidy manner. He shall provide strong fire protection measures for the same. He shall prohibit the entry of outsiders and trespassers into the area of operation. Guns, pistols, etc. shall be totally prohibited in the area. Inflammable materials shall not be allowed to be put to use except if strictly needed for the purpose of the work only. To ensure effective enforcement of the rules and regulations relating to environmental safeguards, the arrangements made by the engineer or any other officer entrusted by competent authority in this regard. The cost, if any for enforcing the environmental safeguards must be borne by the contractor and will not be reimbursed.

46. SAFETY STANDARDS

The following safety standard shall be practiced while designing and installing the plant and machines.

I.S.        618 	-	Code of practice for safety and health requirements in electrical 					and gas welding and cutting operations.

I.S.       659      	-    	Safety code for air-conditioning.

I.S.       660      	-    	Safety code for mechanical refrigeration.

I.S.      3016     	-    	Code of practice for fire precautions in welding and cutting 					operations

I.S.      3210     	-    	Code of safety procedures and practices in electrical works

I.S.      3969 	-    	Safety for scaffolds and ladders.

47. Special Conditions

Inside noise level of the dubbing hall after installation shall meet NC-25 standards.

| Project- CHITHRANJALI STUDIO AT TRIVANDRUM |
| --- |
| Approved List of Make for HVAC works |
| Sr. No: | Description | Approved Brands / Manufacturers |
| 1 | Air-Conditioning unit | Daikin/Carrier/Bluestar/Voltas/ETA/Equivalent |
| 2 | Copper Pipes | Totaline/Mandev/Nissan/Equivalent |
| 3 | MCB / ACB | L&T / GE / Siemens / Schneider/ABB |
| 4 | Power & Control cable | CCI / Polycab / Gloster / Finolex |
| 5 | Switches | L&T / Siemens / ABB / GE / Schneider |
| 6 | GI Sheet | Jindal / SAIL / TATA/Equivalent |
| 7 | Factory fabricated ducts | Rolastar/ Zeco |
| 8 | Pre Insulatede Duct | PAL/ALP/P3/Equivalent |
| 9 | Airdistribution product | Syatemair/Airmaster/Caryaire/Cosmos/Dynacraft/Equivalent |
| 10 | Duct Support | Hilti / Gripple / Diamond / Hitech / Seven star |
| 11 | Duct Insulation | Armacell/K-Flex/Equivalent |
| 12 | Sandwhich Panel | Beardsel/Equivalent |
| 13 | Drain Piping | Finolex / Prince/Equivalent |