Name of Work:- Renovation and Maintenance Works of Police Station Set Building at Chithranjali Studio

| Sl. No. | Description of works | Unit | Qty | Rate (including GST) | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  | Rate | Rate in Words |  |
| 1. 2 3 4 5 6 7 8 | Plastering with cement mortar 1:5 ,12 mm thick one coat plastering the damaged area of existing building including chipping and removing the damaged plastering and cost of all materials labour charges, scaffolding charges etc. Plastering the damaged floor after chipping and removing the damaged floor plastering and Re-plastering using with cement mortar 1:4, 12 mm thick one coat. Repairing the existing wooden doors and windows shutters and replaced the damaged wooden members and proved new hinges, Tower bolt etc. Water proof cement paint one coat over the existing walls Strengthening and Repairing the existing M.P roofing tiles over roof of police station set building including and removing the existing roof tiles, damaged wooden reapers, common rafters and provide new anjily wood reapers and common rafter (Or GI tubes required size) after completing the wooden frame repapering work the existing roof tiles relaying over the wooden frame in correct line and level (including cost of all labour charges, new required roof tiles and all wooden members or GI members) Dismantling and removing the damaged wooden wall plate and providing new wooden wall plate of size 10x7.5 cm fixing correct position. Dismantling and removing existing damaged G.I roof sheet and relaying roofing with new G.I corrugated sheet 0.80 mm thick with over lap of 150 mm at ends including cost of fabricating and welding work of GI roof framer and applying one coat metal prime Brick work in cement concrete 1: 5 using with ordinal bricks and covering the damaged walls | M2 M2 Nos. M2 M2 M M2 M3 | 150 50 6 400 150 13 50 3 |  |  |  |
|  | TOTAL AMOUNT |  |

Contractor									Managing Director