Terms and conditions:

1. Quotation shall be submitted on plain paper price inclusive of all taxes. Minimum 1 year defect liability period shall be provided. Shall enclose details of services done along with quotation.
2. The quotation shall be accompanied with EMD@Rs.2.5% of the quoted rates by way of DD payable to KSFDC Ltd. at Trivandrum.
3. The successful quotationer has to execute an agreement for Overhauling of one number 50 kva Kirloskar make generator in old out door bus unit with KSFDC on receipt of the work order from KSFDC before execting the work.
4. Managing Director, KSFDC reserves' the right to reject any or all quotations without assigning any reason whatsoever.
5. The decision of KSFDC in accepting the quotation will be final.
6. Last date of receipt of quotations will be 3pm on 30.01.2017. The quotations will be opened on the same day at 4pm in the presence of available quotationers.
7. Quotations shall be submitted in sealed covers super scribing "QUOTATION No.3152/T1/13/KSFDC-- Quotation for Overhauling of one number Kirloskar make 50 kva generator in old out door bus unit at Chitranjali Studio Thiruvallom.
8. A copy of quotation notice shall be enclosed with the quote duly signed for acceptance of the terms.
9. Completion of work shall be three weeks from the date of issue of work order.
10. Quotationer may visit the studio site and ascertain the site condition and location of work if needed.
11. All the equipments tools etc required for lifting , transporting, placing the DG in the proposed fondation etc shall be in the scope of contractor.
12. Quote shall include rates of all items like gaskets, screws, belts, nuts, bolts, clamps, sealants etc.

Sd/-

 The Managing Director

Kerala State Film Development Corporation

Chalachithra Kalabhavan

Vazhuthacaud

Thiruvananthapuram