CHITRANJALI STUDIO

(A Unit of Kerala State Film Development Corporation Ltd)

Thiruvallam, Thiruvanthapuram-27

Phone:-0471-2381452, 2380946

E-mail: chitranjalistudio@yahoo.com

No: 158/CS/Store (KSN/Tvm)/2021                                                                26/10/2021

Quotation Notice

Sealed quotations are invited from OEM/authorized dealers for the supply and installation of 1.5 TR 3 Star rated Inverter type Split AC- 07 Nos and fittings.

Last date of receipt of quotation		:	 10/11/2021

For details visit www.ksfdc.in or contact	:	9074192137

Sd/-

Studio Manager (i/c)

No. 158/CS/Store (KSN/Tvm)/2021                   	             	Dt. 26/10/2021

QUOTATION NOTICE FOR SUPPLY AND INSTALLATION OF 1.5 TR 3 STAR RATED INVERTER TYPE SPLIT AIR CONDITIONERS

- Sealed quotations are invited for supply and installation of 1.5 TR 3 Star Rated Inverter type Split AC- 07 Nos. with energy efficient Scroll compressor, necessary copper pipe and PVC drain pipe with insulator split air conditioners for Kairali/Sree/Nila Theatres, Thampanoor, Thiruvananthapuram.

Specifications

1.	Supply and Installation of 1.5 Ton Inverter Spilt AC.

| No. | Item | Unit | Base Rate | Amount |
| --- | --- | --- | --- | --- |
| 1 | Supply installation testing and commissioning of 1.5 ton 3 star rated inverter type split AC of approved make (each complete with scroll compressor, air cooled condenser and evaporator with copper tubes, GSS casing, filters, cooling coils, fan motors, control wiring, refrigerant controls and accessories, including MICRO-PROCESSOR CONTROL with indication lamps) for the operation of the system including supply of suitable stand, unloading at site etc as per the direction of Engineer in charge. | 7 |  |  |
| 2 | Supply installation of 0.8 mm thick copper pipe 10 mm thick nitrile insulation and wrapping tape including all item for successful commissioning. (i) 134 mtr ½ “ 0.8 mm thick copper pipe 134 mtr with 10 mm thick nitrile rubber installation and (ii) 134 mtr ¼ “ 0.8 mm thick copper pipe with 10 mm thick nitrile rubber insulation. (Lump Sum) | 1 |  |  |
| 3 | Supply installation of 4C * 2.5 sq mm copper cable (Meter) | 140 |  |  |
| 4 | Supply and installation of PVC Pipe of following size and including all couplings, bends etc 2.5”,4kgf/cm 2 PVC pipe -110 mtr Note: (2.5 sq mm Copper cable, ½ “ and ¼ “ copper pipes with insulation etc shall be installed through this PVC pipe) 2”, 4kgf/cm 2 PVC pipe – 25 mtr 1” 2kgf/cm 2 PVC pipe – 35 mtr (Lump Sum) | 1 |  |  |
| 5 | Supply and charging of extra gas (in kg) required for filling the extra copper pipe | 1.4 |  |  |
|  | Total |  |  |  |
|  | GST (18%) |  |  |  |
|  | Grand Total |  |  |  |
| 6 | Non Comprehensive AMC Price 1st year |  |  |  |
|  | 2nd year |  |  |  |
|  | 3rd year |  |  |  |
|  | 4th year |  |  |  |

- Item has to be delivered installed tested and commissioned at Kairali/Sree/Nila Theatre, Thampanoor, Thiruvananthapuram.

- 2.5% of the quoted rate may be offered as EMD along with quotation by way of DD payable to KSFDC Ltd at Thiruvananthapuram.

- 1 year warranty on machine and 5 years on compressor and post warranty AMC may be provided.

- Original equipment manufactures or their appointed dealers only are eligible to quote.

- Preferred brand are Daikin, Carrier, Blue star , Voltas, L.G.

- 5% of the quoted amount will be kept as security deposit for which BG may be produced to cover the clause of warranty during defect liability period.

- The last date or receipt of quotation is 3 PM on 10.11.2021. The Quotations will be opened on the same day at 04 PM in the presence of available tenderers.

- KSFDC reserves the right to reject any or all quotations without assigning any reason whatsoever;

- Agreement on stamp paper may be executed on acceptance of the quotation.

- Sanctioned period for delivery and completion for installation will be 10 days from the receipt of work order.

- Payment will be made against the satisfactory completion of supply and installation of items covered under quotation. Any other work which is not covered in the quote for satisfactory completion of work will be in the scope of contractor.

- If needed, prior demonstration of item before acceptance of quotation may be arranged by the quotationer.

- A copy of this quotation notice may be enclosed with quotation duly signed and affixed with seal for the acceptance of the terms & condition by the quotationer.

- Quotation may be submitted on letter head or plain paper with all inclusive rates, specifications, warranty period etc. Product catalogue may be attached.

- List of clients may be enclosed.

- Quotation shall be valid for a period of 90 days.

- Cover containing quotation shall be superscribed “Quotation for 1.5 TR 3 STAR rated inverter Type Split AC” and sent to Studio Manger, Chitranjali Studio, Thiruvallam, Thiruvanthapuram-27.

Sd/-

Studio Manager (i/c)