KERALA STATE FILM DEVELOPMENT CORPORATION LTD

VAZHUTHAKAUD, TRIVANDRUM - 14

Phone No: 0471-2325325/2321586; Email: ksfdcltd@gmail.com; Website: http://www.ksfdc.in

No 3615/T1/16/KSFDC/             					              Date:      17 October  2016

SITC OF 15 KVA DIESEL GENERATOR SET

Sealed tenders are invited  for the ‘SUPPLY, INSTALLATION, TESTING AND COMMISSIONING OF THREE  PHASE SILENT DIESEL GENERATOR SET of 15 KVA capacity with acoustic enclosure and other accessories at Chitranjali Studio, Near N.G.O Quarters, Kakkanad, Thrikkakkara (P.O) Ernakulam District in two bid system i.e. Technical Bid and financial Bid by the undersigned from manufacturers or their authorized distributors and also from Government/Semi-Government Organizations and Public Sector Undertaking for supply, installation and commissioning of following items/articles through registered post, speed post, courier or these can be put personally at the office of the undersigned latest by 03:00 PM on 21st November 2016.

Nature of Tender			: Competitive, Two bid system

Period of completion		: 45 days from issue of work order

Place & official for receipt		: The Managing Director

of Tender				   Kerala State Film Development  Corporation

Chalachithra Kalabhavan                                                             Vazhuthacaud                                         		    Thiruvananthapuram- 14

Cost of tender form			: 945/-

EMD					: 11250/- (By way of Demand draft favoring

The Managing Director, KSFDC, Thiruvananthapuram)

Last date of receipt of Tender	: 03:00 PM on 21st November 2016

Time of opening of Tender		: 03:30 PM on 21st November 2016

(Tech. Bid)

Thiruvananthapuram

S/d

Managing Director

SIGNATURE & SEAL OF TENDERER

All contractors are here by instructed to read the following instructions carefully and submit the tenders accordingly.

| Sl. No. | Name of the item | QTY. | Delivery Period | Application fee |
| --- | --- | --- | --- | --- |
| 1. | Supply, Installation, Testing and Commissioning of 3 phase 15 kVA, 12kW, 415 Volt, 50 Hz, 0.8PF, 1500 rpm star connected Silent Diesel Generator Set, with all necessary items as on display of Digital Multi-parameter (like volt-meter, ampere-meter, frequency meter, KW meter etc.) and other features as per company design, with factory assembled, modular, weather proof, free standing, outdoor type, with acoustic enclosure and residential type silencer in compliance with CPCB-II norms compliant, and type approved by National Aerospace Laboratory / ARAI / FCRA (attach proof) Including cost of transportation, loading, unloading, leading, and incidental charges if any to place the machine on the plinth testing and calibration of energy meter, getting approval from KSEI etc as required (Technical specification shall be referred) | 01 No. | 45 days | Rs.945/- (Non-refundable) |

The technical specifications of required Diesel Generator Sets are enclosed with this tender form at Annexure ‘B’.  Tenderers are advised to quote their Rate after careful study of the tender’s technical specifications as well as the following terms and conditions:-

- Separate envelope should be used for Technical Bid as well as for financial Bid. The word "TECHNICAL BID/ FINANCIAL BID for Diesel Generator Sets due to open on 21st November 2016 at 03:30 PM. shall be prominently marked on the top of envelope and both these sealed envelopes (Technical Bid and financial bid) should further be put in a bigger envelope duly sealed and super scribed properly before putting in tender Box. Tender envelop(s) must be sealed and super scribed “TENDER FOR SILENT DG SETS” which shall be addressed to The Managing Director, Kerala State Film Development Corporation, Chalachithra Kalabhavan                                                             Vazhuthacaud, Thiruvananthapuram- 14. The tenders should reach this office by 03:00 PM on 21st November 2016 as per tender notice.

- The Technical Bids will be opened first on 21st November 2016 at 03:30 PM and the financial Bid will be opened only after scrutiny of technical bid and technical evaluation of the Diesel Generator Sets. In case the office is closed on this date due to any of the reasons or it is not possible for us to open the quotations on this date because of any of the reasons, the quotations will be opened at 03:30 PM on the next working day.

SIGNATURE & SEAL OF TENDERER

- Only Original Equipment Manufacturers, authorized distributor can participate in the tender, the firm should submit proof of their manufacturing issued by any Govt. Agency like NSIC, DGS&D, Ministry of Industries etc. & authorized distributorship.  This is subject to verification if necessary.

- The tenderer should have minimum 5 installations of 15 kVA, 20 kVA or above capacity in Kerala (copy of work order / invoice if any, address & telephone number of the client to be attached.)

- The tendering firm will demonstrate their products i.e. Diesel Generator Set before Technical Committee for assessing its suitability/compatibility as per tender’s Technical Specifications within short period.

- Only authorized representatives will be allowed to attend the meeting of the Purchase Committee.

- The tender cost is nonrefundable.  The demand draft of Rs.945/- as tender fee in favour of “The Managing Director, KSFDC at Thiruvananthapuram” / receipt of tender fee should be attached with the Technical Bid.

- The tenderer shall enclose EMD for Rs.11250/- by way of bank demand draft payable         	to The Managing Director, KSFDC at Thiruvananthapuram.  Tenders without the stipulated EMD will be 	rejected 	forthwith.

- In case the firm fails to attach the demand draft / receipt of tender fee, the tender shall be rejected straightway.

- Incomplete tender will not be accepted.

- Conditional tender will not be accepted.

- Optional tender will not be accepted. The firm should have to quote only one model.  The option either in model or in rates will not be accepted and the tender will be rejected straightway.

- All papers to be submitted  are to be signed and stamped by the bidder(Photostat copies may be retained by the tenderers). Incomplete tenders are liable to be rejected.

- The price must be quoted as per proforma price schedule Annexure “A”. The Tenderer must quote the price both in words as well as in figures.  Any over writing/cutting etc. render the tender invalid. The option in the rates will not be entertained and the tender will be rejected straightway.

- Tenderer would not be permitted to alter or modify their bids after expiry of the deadline for receipt of Bids.

SIGNATURE & SEAL OF TENDERER

- Scope of Work : Supply and Installation of 15 kVA 3 phase Silent Diesel Generator Set at Chitranjali Studio, Near N.G.O Quarters, Kakkanad, Thrikkakkara (P.O) Ernakulam District. The work includes loading and unloading, transportation and erection, construction of concrete foundation, extension of silencer portion to the desired height, its thermal insulation and cladding, testing and commissioning including getting approval from KSEI.

- If the supply is found inferior to the sample approved by the Purchase/Technical Committee, the consignment will be rejected.  The supplier will have to take back the consignment at his own cost and replace it within fresh stock as per approved samples within 15 days.

- The purchase committee, in order to satisfy itself can order on the spot enquiry to verify the soundness, capability, viability and any other information given by the tendering firms.

- The Bid shall remain valid for six calendar months from the date of opening of the tender.

- The payment will be made after receipt/acceptance of goods in good condition. No advance payment will be made. Under no circumstances, sub-standard material will be accepted.

- The Purchase Committee reserves the right to relax any terms and condition in the govt. interest with the approval of Competent Authority.

- The purchase committee reserves the right to reject any tender or all tenders without assigning any reasons thereof.

- The Competent Authority can terminate/recall the tender due to administrative reasons.

- All disputes are subject to the jurisdiction of the Courts at Ernakulam.

- A copy of terms and conditions duly signed & stamped by the tenderer, as a token of acceptance of the same should be attached along with the tenders.

- Only Sales Tax/VAT payee agencies are eligible to fill this tender. Interested agencies must quote their Sales Tax No. /VAT in their quotation and also attach documentary proof of having registered with sales Tax/VAT Deptt. for sale of items etc. with technical bid.

- The copy of latest VAT/Sales Tax Return must be attached with the technical bid.

- The tender will be rejected straightway without assigning any reasons if the firm declared black listed by any Govt./Semi govt. department/agencies etc.

- Tenderer(s) shall indicate complete technical specifications and all features of the quoted Diesel Generator Set(s) and also submit its literature/brochures with the technical bid.

SIGNATURE & SEAL OF TENDERER

- The tendering firm will also submit a certificate that the product offered by them is as per technical specifications of the tender.

- All the bidders whose technical bid is declared qualified by the Purchase Committee will demonstrate their product before the Technical Evaluation Committee at a short notice.

- The bidder should carry an onsite comprehensive warranty/guarantee of Diesel Generator Set(s) for a period of at least 12 (twelve) months.

- If the performance of any individual equipment or System fails to meet the contract specifications then the same shall be replaced by the Supplier free of cost during the term of the warranty/guarantee period.

- The maintenance services shall be free of cost during the warranty/ guarantee period.

- During the term of warranty/guarantee the service/repair calls will have to be attended by the Supplier within twenty four hours from the time of such calls.  The defective card/item/ equipment should be repaired the same day at Purchaser’s location.  In case of major defects requiring the defective card/item/equipment to be taken to the Supplier’s workshop, it should be returned within a week duly repaired and an immediate substitute card/item/equipment will be provided by the Supplier for the smooth operation of the System.  The to and fro transportation of the card/item/equipment will be the responsibility of Supplier.

- Apart from the service/repair calls, the service engineer deputed by the Supplier will visit the site once every month to assess the serviceability of the System and once in every 03 months to carryout the Preventive Maintenance and diagnostics of the system during the Warranty Period.

- The bidder should submit copy of certificates regarding IS/ISI as indicated in the technical specifications [Annexure “B”] and attached with technical bid.

- Successful tenderer shall ensure backup for post warranty service requirements. Details for the same shall be furnished.

- KSFDC reserves the right to accept or reject any or all tenders without assigning any reason whatsoever.

- Payment will be released as per actual quantities of each item executed at site.

- The tenderer shall visit the site and ascertain the site condition and location of work if needed.

SIGNATURE & SEAL OF TENDERER

## NOTE :-

(A)	DOCUMENTS REQUIRED TO BE ATTACHED WITH TECHNICAL BID IN THE FOLLOWING ORDER :-

- The Demand draft of application fee must be attached with tender form.

- Certificate regarding registration with DGS&D, NSIC, if any.

- Sale Tax/VAT Registration Certificate.

- Latest Sales Tax Clearance Certificate/Latest VAT deposited receipt.

- Copy of authorized distributorship/Manufacturer.

- Technical specifications of the product offered along with literature/brochure/ Maintenance manual and spare parts catalogue.

- Copy of terms and conditions duly signed with seal of the firm, in token of acceptance of terms and conditions.

- All the firms/company participating in the tender must submit a list of their owners/partners/directors etc. and a Certificate to the effect that the firm not blacklisted by any Govt. Department.

- All other supporting documents as required in the tender shall be attached.

- If the tenderer is failed to enclose any or all of the above documents his offer is liable to be rejected and will not be considered for empanelment.

  - DOCUMENTS REQUIRED TO BE ATTACHED WITH FINANCIAL BID IN THE FOLLOWING ORDER :-

FINANCIAL BID shall contain price only and no other documents shall be enclosed with the financial bid.

Rates including of all taxes of the item quoted by the tenderer shall be submitted on their Letter Pad as per Annexure “A” format in clear terms, in words and in figures.  The cutting & over-writing in the financial bid is not valid. The price quoted in financial bid should be inclusive of all taxes as per Annexure “A”.  The option in the rates will not be entertained.

SIGNATURE & SEAL OF TENDERER

TECHNICAL SPECIFICATIONS -- SILENT DIESEL GENERATOR SET-- CAPACITY 15 KVA

| S.No | Parameter | Specification |
| --- | --- | --- |
|  | ENGINE Make | Kirloskar green, Cummins, Powerica |
| 1 | Engine Capacity | 20 BHP Min |
| 2 | Speed | 1500 RPM |
| 3 | Excitation | Self-excited and self-regulated |
| 4 | Fuel | Diesel |
| 5 | Cooling System | Water Cooled |
| 6 | Start | Electric Start, 12 V DC |
| 7 | Exhaust Silencer | Residential Type Silencer |
|  | ALTERNATOR Make | KEL, BHEL, Kirloskar green , Cummins, Powerica |
| 8 | Rating /connection | 15 KVA, 12KW (+ 10% upwards variations)/ star connected |
| 9 | Phase / Frequency/Type | 3 phase / 50Hz/ Brush less, self excited self regulated continuous duty |
| 10 | Output Voltage Variation on load | 415 Volt ± 5% |
| 11 | Output Frequency on load | 50 Hz ± 0.25% |
| 12 | Power factor | 0.8 |
| 13 | Voltage regulation | +/- 1% |
| 14 | Insulation Class | H |
| 15 | Ingress protection class | IP 23 |
| 16 | Warranty | All-inclusive warranty of 12 months. |
| 17 | Documents | All manuals for operation and maintenance of the DG set must be provided. |
| 18 | Standards | Alternator and Generator and other items used in the DG set should conform to IS standards. (Item 25) |
| 19 | Installation | Vendor must quote for installation, Earthing and commissioning of the DG set at the site. |
| 20 | Environment protection | The DG set must meet all environment protection rules & regulations of Govt. of India in respect of noise and emission norms. |
| 21 | Battery | with metallic / wooden stand 12V, 80/75 Ah Min Exide Express or OEM make |
| 22 | Type of acoustic enclosure | Rectangular cubicle in shape, weather proof outdoor duty type with integrated residential type silencer, built by Original Engine Manufacturer and factory integrated |
| 23 | Sound level with Acoustic Enclosure | 75 dB at a distance of 1 metre as per ISO 8528/3744 standard |
| 24 | Fuel tank | Totally Integrated to the acoustic enclosure with minimum 8 hrs. of operation on 75% load with fuel level indicator on or inside acoustic enclosure. |
| 25 | Conformance standards | IS 4722, IS 1460, IS10000 |

SIGNATURE & SEAL OF TENDERER

| S.No | Parameter / Specification |
| --- | --- |
|  | CONTROL PANEL |
| 1 | Integrated inside the acoustic enclosure and fully accessible on opening the door of the acoustic enclosure, fabricated out of 16 SWG CRCA sheet with powder coated paint & consisting of following |
| 2 | Digital LCD display for all engine, battery, fuel & alternator parameters |
| 3 | Engine & alternator monitoring & safety system with additional safety controls like high oil temperature trip, high water temperature trip etc |
| 4 | Current transformer (CT) of suitable class & ratio ( 3 nos.) |
| 5 | Electronic Energy Meter (L & T/El measure/Conzerv/OEM make) |
| 6 | Ammeter, Volt meter, Frequency meter |
| 7 | LED Indicators for ‘DG ON’, ‘Load ON’ |
| 8 | 3 Phase Line Voltage Monitoring facility (LVM) |
| 9 | 32A, 4 pole MCB (Legrand /Schneider/L&T/ Merlin Gerin/OEM makes only) |
| 10 | 4 pole (3ph & N) 415 volts RCCB having a sensitivity current upto 100mA |
| 11 | Control wiring and power wiring upto MCB with a laminated copy of wiring diagram fixed inside the control panel |

SIGNATURE & SEAL OF TENDERER

TENDER FORMAT

PART-1 TECHNICAL BID

TENDER FOR PURCHASE OF DIESEL GENERATOR SETS FOR

CHITRANJALI STUDIO, KAKKANAD, ERNAKULAM

|  | NAME OF THE FIRM | : |
| --- | --- | --- |
|  | CORRESPONDENCE ADDRESS WITH TELEPHONE NO. AND E-MAIL ID | : |
|  | LOCAL ADDRESS WITH TELEPHONE NO. AND E-MAIL ID | : |
|  | WHETHER REGISTERED WITH NSIC/ DGS&D, IF YES ATTACH COPY | : |
|  | SALES TAX/VAT REGISTRATION PROOF | : |
|  | LATEST SALES TAX/VAT RETURN | : |
|  |  | : |
|  | APPLICATION FEE | :Demand Draft No.: Date: Bank: Amount |
|  |  | : |
|  | COPY OF TERMS AND CONDITION DULY SIGNED | : |

Signature and Seal OF TENDERER

NAME IN BLOCK LETTERS:

FULL ADDRESS :

PART-2 FINANCIAL BID

PROFORMA FOR PRICE SCHEDULE Annexure “A”.

TENDER FOR PURCHASE OF DIESEL GENERATOR SET FOR USE AT Chitranjali Studio, Kakkanad

| S. No. | Description of work/ item |  | Amount In Indian Rupees (including all taxes/ duties /govt. levis/freight etc.) In Figure as well as in words |
| --- | --- | --- | --- |
| A | B | C | F |
| 1. | Supply, Installation, Testing and Commissioning of 3 phase 15 kVA 12 kW 415 Volt, 50 Hz, 0.8 PF, 1500 rpm star connected Brush less, self excited self regulated continuous duty DC starting Silent Diesel Generator Set, with all necessary items as on display of Digital Multi-parameter (like volt-meter, ampere-meter, frequency meter, KW meter etc.) and other features as per company design, with factory assembled, modular, weather proof, free standing, outdoor type, with acoustic enclosure and residential type silencer in compliance with CPCB-II norms compliant, and type approved by National Aerospace Laboratory / ARAI / FCRA (attach proof) Including cost of transportation, loading, unloading, leading, and incidental charges if any to place the machine on the plinth and including testing and calibration of energy meter, getting approval from KSEI etc as required. (Technical specification shall be referred) | 1 set |  |
| 2 | Supply & erection of suitable dia MS ‘B’ Class painted Exhaust Pipe length equal to building height (appro. 15 mtrs) with all accessories and supports – aluminium painted over 2 coats of zinc chromate primer as per the scope of KSEI | 15 mtrs |  |
| 3 | Supply & erection of 50 mm thick thermal insulation for exhaust line using glass wool and aluminium sheet cladding upto 5 metre from engine including the silencer portion | 5 mtrs |  |
| 4 | Construction of suitable size concrete foundation 1:2:4 for the DG set with provision for cable entry etc (100 mm extension on all four sides to the dimension of DG, height 400 mm above ground level, 200 mm below ground level) | 1.8 Cu.m |  |
| 5 | Supplying and laying of 15 mtrs 4 X 10 sq mm armoured Aluminium UG cable PVC insulated and PVC sheathed / XLPE power cable, making end termination with brass compression gland and aluminium lugs, clamping etc wherever necessary, and including providing 4 pole load change over switch, double earthing with 10 swg copper wire, 3 nos earth pit (600X600mm—2.5 m length) for pipe earthing etc as per the scope of KSEI &KSEB. | 1 job |  |
|  | Total (In Words): Rupees |  |  |

It is hereby certified that we have understood all the terms and conditions specified in the tender document and are thoroughly aware of the nature of job required to be done and goods/items to be supplied.  We agree to abide by all the tender terms and conditions. We hereby offer to supply the goods/items detailed above as you specify in the notification of award.

Place:                                                   		    (Signature and seal of Bidder)

Dated:

NAME IN BLOCK LETTERS:

FULL ADDRESS :