TENDER SCHEDULE

NAME OF WORK :- RENOVATION WORKS (CIVIL WORK) OF KALABHAVAN DIGITAL STUDIO, VAZHUTHACAUD

| Item no | Description of works | Quantity | Unit | Rate in | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  | Figure | words |  |
| 1 | Masonry with hollow concrete block of any thickness of wall in cement mortar 1:8 (hollow concrete block made out of cement concrete 1:4:8 with 6mm broekn stone) for the side supportary wall of passage to Digital Studio including cost of and conveyance of all metals, labour charges etc. complete. Side wall 2x15.00 x0.15x0.30 | 1.50 | M3 | 5500.00 | Five Thousand and Five Hundred Only | 8250.00 |
| 2 | Cement plaserting 1:4 12mm thick finished with floating correct line and level. | 15.0 | M2 | 249.40 | Two Hundred and Forty Nine and Forty paisa Only | 3741.00 |
| 3 | Flooring with cement concrete 1:3:6 using with 20mm metal for flooring of passage including cost of all materials labour etc. | 1.50 | M3 | 6795.81 | Six Thousand Seven Hundred and Ninety Five and Eighty One only | 10193.72 |
| 4 | Filling with contractor's own earth for raising the passage to digital studio including watering and ramming etc. | 5.0 | M3 | 875.17 | Eight Hundred and Seventy Five paise seventeen only | 4375.85 |
| 5 | Painting inside wall and ceiling with two coating ready mixed acrylic emulsion paint approved quality as specified over priming coat after rubbing with sand paper and cleaning the surface including cost of all materials labour charges etc. | 100.0 | M2 | 116.48 | One Hundred and Sixteen paise forty eight only | 11648.00 |
| 6 | Painting with synthetic enamel paint using approved quality paint two coats after rubbing and cleaning the wooden surface etc. | 100 | M2 | 108.13 | One Hundred and eight paise thirteen only | 10813.00 |
| 7 | Providing and laying mat finish/polished vitrified tiles of size 60x60cm and cost not less than Rs.600/ M2 with water absorption less than 0.08% and confirming to IS 15622 of approved make in all colours and shades land over the existing tiles floor with cement based high polymer modified, quick set tile adhesive confirming to IS 15477/- using 5kg adhesive per/ M2 of tiles area in average 3mm thickness | 48 | M2 | 1612.40 | One thousand Six Hundred and Twelve paise forty only | 77395.20 |
| 8 | Fabricating and fixing Door shutters to the under side of wash basin counter using with wooden colour finish aluminium outer frames and shutter frames and panels using with hylam sheet including cost of all fitting such as hinges, handles and lock etc. | 2.0 | M2 | 6000.00 | Six Thouand only | 12000.00 |
| 9 | Labour charges for cleaning and removing the waste from the studio area including washing and cleaning the floor etc. | 5 | Nos | 900.00 | Nine Hundred only | 4500.00 |
| 10 | Disposal of building rubbish/Redwood, gypsum wall and other unserviceable waste materials by mechanical means including loading, transporting unloading to approved corporation dumping contractorer's own land own land without disturb the public. | 10.00 | M3 | 850.00 | Eight Hundred and Fifty only | 8500.00 |
| 11 | Providing and applying antitermat by injecting chemical emulsion Lmidac to prid emulsion concentrate 0.075% for pre-constructional treatment and creating a chemical barrier for the side wall of studio and floor the completer | 120.0 | M2 | 300.00 | Three Hundred only | 36000.00 |
| 12 | Supplying and laying 110mm diameter PVC pipes for the rain water outlets | 3.0 | M | 600.00 | Six Hundred only | 1800.00 |
| 13 | Providing and fixing ridge/walley capping in required with plain galvalyme colour coated sheet made of 0.50mm, TCT minimum300mpa, including cost and conveyance of all materials scafold charges (including cost for closing the gaps using with) | 5.0 | M | 496.54 | Four Hundred and Ninety Six paise fifty four only | 2482.70 |
|  | TOTAL |  |  |  | GST @ 18% | 1,91,699.47 34,506.00 |

Grand Total-2,26,205.47

I/We agree to undertake to execute the above work at*.................................

* (Here quote any one of the following)

(1) Estimate rate.

(2) .............% (Figures) ................................................(words) below estimate rate.

(3) .............% (Figures) ................................................(words) above estimate rate.