CHITRANJALI STUDIO

(A Unit of Kerala State Film Development Corporation Ltd)

Thiruvallam, Thiruvananthapuram-27.

Phone: (0471) 2381450,51,52,2380946

E-mail: chitranjalistudio@yahoo.com

No:01/CS/MM/Ele./2018-19						              03/04/2018

Quotation Notice for Supply and installation of (a)  3 KVA Online UPS-01 No. with 12 V 40 AH Tubular Batteries (b)  12 V 26 AH SMF Battery only -32 Nos.

1)	Sealed quotations are invited for

a) 3 KVA Online pure sine wave UPS with isolation transformer, output PF > 0.9 (Above 0.9) – 01 No. (Make: GE, Unicorn, Socomec, Techser, APC, Hykon) with 12 V 40 AH Tubular Batteries (Make: Amaron, Exide) for 30 to 45 minutes back up for the Chitranjali Studio, Thiruvallam.

b) 12 V 26 AH SMF Battery only for Kairali/Sree Theatre, Thiruvananthapuram & Chittoor- 16 Nos. each. (Make: Exide, Amaron).

2)	Item has to be delivered, installed, tested and commissioned at Chitranjali Studio, Thiruvallam, Thiruvananthapuram, Kairali/Sree Theatre, Thiruvananthapuram & Chittoor.

3)	2.5% of quoted rate may be offered as EMD along with quotation by way of DD payable to KSFDC Ltd at Thiruvananthapuram.

4)	Minimum 1 year warranty may be provided.

5)	Original equipment manufactures or their appointed dealers only are eligible to quote.

6)	The selected OEM/Dealer should deposit 5%  of the quoted amount with KSFDC on security deposit to cover the clause of warranty during defect  liability period.  If needed, EMD amount shall be adjusted against Security Deposit and balance amount only to be remitted.

7)	The last date of receipt of quotation is 3 PM on 12/04/18.  The quotations will be opened on the same day at 3.30 PM in the presence of available Quotationers.

-2-

8)	KSFDC reserves the right to reject any or all quotations without assigning any reason whatsoever.

9)	Delivery and completion period of installation will be 7 days from the date of  issue of purchase order accepting the quotation.

10)	Payment will be against supply and installation of items covered under quotation.

11	If needed prior demonstration of item before acceptance of  quotation may be arranged by the quotationer.

12)	A copy of this quotation notice may be enclosed with quotation duly signed and affixed with seal for the acceptance of the terms & conditions by the quotationer.

13)	Quotation may be submitted on letter head with all inclusive rates, GST, specifications, warranty period, etc.  Product catalogue may be attached.

14)	List of clients may be enclosed.   Buy back rate for old batteries in our possession may be quoted separately.  If needed, the condition of old batteries be got assessed before submitting the quote.

15)	Quotation shall be valid for 120 days.

16)	Quotation in sealed cover superscripted “Quotation for (a) 3 KVA Online pure sine wave UPS – 01 No. with 12 V  40 AH Tubular Batteries (b) 12 V 26 AH SMF Battery only” and may be sent to Studio Manager i/c., Chitranjali Studio, Thiruvallam, Thiruvananthapuram-27.

Sd/-

Studio Manager i/c.