KERALA STATE FILM DEVELOPMENT CORPORATION (KSFDC) LTD

CHALACHITRA KALABHAVAN

VAZHUTHACAUD, THIRUVANANTHAPURAM 695 014

TENDER No:893/T1/2019/KSFDC/ dated  17 /03/2020

TENDER DOCUMENTS

TENDER DOCUMENTS FOR THE ELECTRICAL WORKS FOR INSTALLATION OF AIR CONDITIONER AT HEAD OFFICE KSFDC, VAZHUTHACAUD,  THIRUVANANTHAPURAM

I. SUMMARY OF NOTICE INVITING TENDER

1. Name of work	ELECTRICAL WORKS FOR INSTALLATION OF AIR CONDITIONER AT HEAD OFFICE OF KSFDC AT  VAZHUTHACAUD  THIRUVANANTHAPURAM

2. Tender No.     				 	893/T1/19/KSFDC dtd    17/3/2020

3. Name and address of the owner			Managing Director

KSFDC,

Vazhuthakaud

TRIVANDRUM - 14

4. Date of commencement of work 			3 days from the receipt of work order

5. Period of completion of works 			7 days for time of work completion +

45 days to complete MV addition with KSEB

6. Period of measurement	1 Month from the date of evaluation.

7. Defects liability period.	12 Months from the date of Completion including MV addition with KSEB

8. Place of issue of tender/				Managing Director                                           Place of receipt of tender				KSFDC,

Vazhuthacaud

TRIVANDRUM - 14

9. Security deposit	2.5 % the bill amount

10. The firm period of tender	3 months from the date of submission

11. Escalation	No escalations

12. Earnest money deposit (EMD)	Rs.3200/-

13. Last date of receipt of tender	3 PM on 01/04/2020

14. Date and time of opening of tender	3:30 PM ON 1/04/2020

15. Tender cost	Rs.590/- (Including GST)

16.  Penalty	1( of contract value per week up to a maximum of 10( of PAC.

OWNER

NOTICE INVITING TENDER

1.1 Tenders in item rate are invited by The Managing Director, 	Kerala State Film Development Corporation, Chalachithra Kalabhavan, Vazhuthacaud, Thiruvananthapuram  14 for ELECTRICAL WORKS FOR INSTALLATION OF AIR CONDITIONER AT HEAD OFFICE OF KSFDC AT  VAZHUTHACAUD  THIRUVANANTHAPURAM

1.2 Tenderers are strongly advised to go through tender documents in connection                       with this tender very carefully. Tenders shall be submitted on or   before 3.PM on 1/04/2020.  Any tender received after the due date and time will be rejected.

The e tender containing the followings

i) Earnest Money Deposit

ii) Tender documents including notice inviting tender, eligibility to tender, general 	terms and conditions, special conditions, particular specification, recommended 	makes.

1.3 	The received tenders will be opened at 3.30 PM on 1.04.2020 in the office of 	KSFDC ltd., Vazhuthacaud, Trivandrum - 14.  The Owner reserves the right to reject 	all or any of the tenders and to accept in whole  	or part of any of the tenders 	without assigning any reason for so doing.

1.4   The successful tenders will be required to sign an agreement in a form approved by the 	Owner for the fulfillment of the contract.  Both the written acceptance of the tender by 	the Owner will constitute a binding agreement between the Owner and the person so 	tendering whether such formal contract is or is not subsequently entered into.

  - a) All statutory deductions like I.T, G.S.T,  contribution to ESI, KCWW Fund etc shall be made from the amount eligible to the contractor in each part bill at current rates. The rate of deduction towards work contract tax shall be changed if the government revises the rate. Any tax omitted to be deducted in any part bill shall be deducted in the subsequent bills/final bill. The contractor shall submit the GST registration along with tender. The GST at prevailing rates is applicable to the contractor.

- All statutory payments in connection with the employment of the workmen for this                  work will be borne by the contractor.

1.6      PERIOD OF VALIDITY

The tender shall remain valid for acceptance for a period of 60 days from the date of opening of the tenders.

1.7      INSPECTION OF SITE

Every tenderer is expected to inspect the site of the proposed work and acquaint himself with the site conditions, approaches etc. before quoting his rates.  No claim whatsoever should be entertained later on the plea of any difficulties involved in the execution of work, which was or was not foreseen by the tenderer.

1.8      ALL INCLUSIVE RATES

The contractor’s rate must be firm and must include the cost of transportation of material to the site, all taxes such as GST and octroi, etc. and the fixing or placing in position for which the item of work is intended to be operated.  The rates quoted by the contractor shall be firm throughout the contract period and there shall be no upward revision of the rates quoted by the contractor for any reason whatsoever. It should be clearly understood that any claim for extra or any additional tax, etc. shall not be entertained in any case whatsoever once the tenders are opened.

1.9  Eligibility : (i) The tenderer shall be a A Class contractor for electrical work.

(ii)  shall  have done 2 works of similar nature involving HT and LT installations, of order value two lakhs or more in the last 3 years (Documentary evidence to be submitted).

2. 	GENERAL TERMS AND CONDITIONS

  - For this contract and subsequent contract, unless inconsistent with or otherwise indicated by the context, the following terms shall have the meaning defined here under:-

    - `The Owner’ shall mean  The Managing Director , Kerala State Film Development  Corporation ,Chalachithra  Kalabhavan , Vazhuthacaud, Thiruvananthapuram , or his duly authorized representative to deal with matters regarding this work on his behalf.

    - `Tenderer` shall mean person, firm or corporation who has submitted a tender against invitation to tender and shall include his legal representative, successors and assigners.

    - `Contractor` shall mean person, individual or firm or company whose tender with or without later amendments has been accepted and to whom a letter of intent/work order has been issued.

    - `Contract` shall mean and include the tender notice/invitation to tender, the tender and all pertaining documents, the letter of intent, the purchase order, the correspondence exchanged after receipt of tenders and before issue of the letter of intent, the drawings, technical specifications and standard relating to the contract work and the formed agreement executed by the successful tenderer/vendor with the purchaser.

    - `Work/works` means and include all the work specified or set forth and required if any by the specification, drawings and other documents which form part of this contract or to be implied thereof or incidental thereof to be hereafter or required in such further explanatory instructions, drawings etc., as shall from time to time during the progress of the work be given by the owner

    - The courts situated at the place where the office of the Managing Director, KSFDC is situated viz Thiruvananthapuram alone will have jurisdiction to entertain civil suits pertaining to this contract.

  - GENERAL CONDITIONS OF CONTRACT

The following general conditions of the contract shall be read in conjunction with the Special Conditions of the contract.  The following clauses shall be considered as extent and not limitations of the obligations of the contractor.

    - Tenderer should quote both in figures as well as in words the rates and amount tendered by him for each item in such a way that interpolation is not possible.  All corrections and alterations in the entries of tender papers will be signed in full by the tenderer with the date.  The tenderer shall sign at the right hand bottom of each page of the tender document.

    - The tenderer should submit a statement along with his tender giving details of the tenderer`s previous experience of similar work of  comparable  nature, also the  type and size of the organization owned by him.

    - Tenders which are incomplete in any respect are liable to be rejected.

2.2.4	    A.  EMD/Performance Guarantee/Security Deposit

Tenderer should deposit Rs.3,200/- towards  EMD. If the tender is finalized, the tenderer shall submit 5% of the contract value as performance 	guarantee. At least 50% of the performance guarantee can be in the form of treasury fixed deposit and rest in the form of Bank Guarantee. In addition to the performance guarantee and security deposit for 2.5% of the gross amount shall be deducted from the running /final bill of the contractors.  Final claims till expiry of defect liability period of one year. Security deposit can be released against the Bank Guarantee. EMD/Performance Guarantee/Security Deposit will not bear any interest what so ever. This can be released only after the expiry of Defect Liability Period of one year.

B. GST/Taxes , KCWW fund, ESI contribution etc at the rate prevailing at the time of payment will be deducted from each running bill and final bill.

C.  All statutory payment in connection with employment of workmen for this work will be borne by the contractor. The contractor is the employer of all the workers engaged for this work and should therefore take all required registrations and pay premiums correctly to labour welfare funds constituted by the Union Government and Government of Kerala from time to time.

2.2.5.  INSPECTION AND TESTING

Owner/authorized representative shall have all powers to inspect any portion of the equipment, examine the materials and workmanship of the contractor’s work at the site or any other place pertain to this contract.

2.2.6  MATERIALS, TOOLS AND PLANT

All materials required for the execution of the works other than those mentioned in the Special Conditions shall be supplied by the Contractor.  Materials so supplied shall have the approval of the owner before using on the works.  All the rejected materials shall be removed at once from the site of work at the Contractor’s own cost.

2.2.7 Tollages etc

The contractor shall pay all tollages and other royalties, rent and other payments or compensation, if any for getting all the materials required for the works.

    - Supplying requisite agency with necessary equipments for setting out and of facilitate checking of accuracy as and when necessary should be the contractors responsibility and no extra cost will be paid for that.

    - Temporary fences, shelters, watchman, danger signals and such other precautions    as are necessary for the protection of materials and to protect the public and properties of public as well will include in the rates quoted by the contractor.

    - The work site should be always kept clean of unwanted materials, rubbish etc., and all necessary  safety precautions should be taken by the contractor as safety rules.

    - The final clearing will include dismantling and removing all the temporary structures put up by the contractor from the premises and cleaning off the area of work so as to make it neat and tidy to the full satisfaction of the Owner.

2.2.12        REJECTION OF DEFECTIVE EQUIPMENT & MATERIALS

If the equipment or any portion of materials thereof before it is taken over, is found to be defective or fails to fulfill the extent of the requirements, the contractor on  receipt of a written notice from the Owner, shall forthwith make good the defective materials within the stipulated period mentioned in the written notice or replace the equipment at no extra cost.  Any damage caused during the transit testing etc. shall be made good by the Contractor without any extra charges.

    - MAINTENANCE

For a period of 12 months commencing immediately after taking over of the work by the “Owner” Contractors liability shall be to replace the defective parts, rectify/reconstruct the defective work that may develop in his own construction or those of his sub contractors approved by the “Owner” arising solely from faulty materials  or poor workmanship.

If it is necessary for the Contractor to rectify/reconstruct any defective portions of the work under the contract, the provision of this condition shall apply to the portions of work so replaced or renewed until the expiration of three months from the date of such replacement or renewal until the end of the above mentioned period of twelve months, whichever may be later.  If any defects be not remedied within a reasonable time the “Owner” may proceed to do the work at Contractor’s risk and expense, but without prejudice to any other rights which the “Owner” may have against the contractor in respect of such defects.

    - DEFECTS   LIABILITY PERIOD

Any defect developed within `Defect Liability Period` of  12 months will have to be rectified by the contractor at their own cost and in case the defects are not rectified by the contractor, ”Owner” or their representative shall get the work done at the risk and cost of the contractor.

2.2.15 	Work treated as complete

- All the defects and liabilities notified during the period of 12 months including the alteration or addition of works or devices rectified by the contractor at his own cost and risk as suggested by the owner or his representative from time to time for the smooth functioning of the system. If the defects are not cleared by contractor the work shall be treated as completed only after its completion by the owner at the cost and risk of the contractor.

- The site is clear from all materials, site shed, etc.

- The owner is satisfied with the job done by the Contractor and certified the work completed in all respects fulfilling the contractual obligations by the contractor.

- The contractor has submitted the reconciliation statement regarding the stores received from the “Owner” and all the surplus and salvaged materials are returned to the stores

v) All equipment, tools, plant taken from the “Owner” have been returned by the contractor.

vi  Any other material, taken on loan/transfer from other agency have been returned by the contractor.

vii) All power and water supply connections taken for the execution of the works have been disconnected and all dues cleared by the contractor.

viii) Rectifications of any damage done by the contractor to the work executed have been satisfactorily done by the contractor.

ix) The works shall not be considered as complete until the copy of the agreement from KSEB is received at KSFDC.

2.2.16   BY LAWS

The contractor shall comply with by-laws and regulation of local and statutory authorities having jurisdiction over the work and shall be responsible for payment of all fees and other charges and the giving and receiving of all necessary notices and the Owner shall be kept informed of the said compliances with by-laws, payment made, notices issued and received

    - COMPLETION TIME

The work covered by the contractor shall be executed in accordance with the drawings/ as directed by the Engineers of KSFDC within 7 days from the date of award of work.  As this is a co-ordination work with civil & AC contract, all efforts must be made for smooth progress of work. However no hindrance in the out door works are expected as most of the civil & AC works are indoor type.  The entire work must be completed as per tender clause.

    - EXTENSION OF TIME

No extension of time will be allowed.

    - QUANTITIES

The quantities set out in the bill of quantities are the estimated quantities of the work and are approximate. They are not to be taken as the actual and correct quantities of the works to be executed by the contractor in fulfillment of his obligations under the contract.  On award of work the contractor  of his own has to estimate the actual quantities of work and to communicate to the owner.  No extra cost shall be paid for any variation in quantities.

    - MEASUREMENT AND BILLING

Wherever mode of measurement is specified, the measurement will be taken at site as per the latest IS code of practice for measurement.  The contractor or his representative shall accompany the ”Owner” or their representative in taking measurements and shall agree to the measurements taken on spot.  All necessary tapes shall be of steel and shall be supplied by the Contractor.  The contractor shall then present his bill based upon the agreed and recorded measurements and as per the directions of the owner .  If the contractor fails to accompany the ”Owner” for measurements, then he shall be bound by the measurements taken by the ”Owner”.

The contractor can raise bills for a minimum payment of 30% of contract amount.

Payment towards all interim bills will be made by the “Owner” within a time limit of 30days of presentation by the Contractor.

Period of final measurement shall be one month from the time of completion of the project.

    - POWER TO MAKE  ALTERATIONS

The Owner shall have the power to make in writing any alterations, omissions, additions or substitutions for original specifications, drawings, designs, patterns and instructions that may appear to him necessary or advisable during the progress of the work and the contractor shall be bound to carry out the work in accordance with the instructions which may be given to him by the Owner or his representative.  On submission of electrical scheme to the Electrical Inspectorate it is bound to have some changes in the panels, cables rating etc.

Such alterations, omissions, additions, substitutions shall not invalidate the contract.  Any altered additional or substituted work which the contractor may be required to do in the manner specified above as part of the work shall be carried out by the contractor on the same conditions in all respect on which the main works was agreed to be done and at the rates derived according to clause 2.2.21

    - EXTRA ITEMS

Extra items may be classified as additional, substituted, or altered items, depending on their relation or otherwise to the original item or items of work.

Rates for authorities extra items, additional, altered or substituted work as may be ordered shall be determined by the ”Owner” as follows:

- In the case of all extra items whether additional, altered or substituted, if accepted rates for identical items provided for in the contract, such rates shall be applicable.

- In the case of all extra items whether altered or substituted, for which similar items exist in the contract, the rates shall be derived from the original item by appropriate adjustment of cost of affected components.  The percentage excess or deduction of the contract rate for the original item with reference to the estimated rate shall be applied in deriving the rates for such items.

- In the case of extra items, whether altered or substituted, for which similar items do not exist in the contract, the rates shall be arrived at on the basis of provision of standard data Book prevailing  schedule of rates  of Public Works Department of Kerala or DSR, CPWD by adding profit of 10% and applying the contractor’s quoted percentage above or below.

- In the case of extra items, whether additional altered or substituted, for which the rates cannot be derived from similar items in the contract, and only partly from similar items in the contract, and only partly from the public work departmental rates, the rates for such part of parts of items as are not covered in the schedule of rates shall be determined by the `Owner’ on the basis of the prevailing market rates giving due consideration to the analysis of the rate furnished by the Contractor with supporting documents, including contractor’s profit.  This shall be added on to the prevailing schedule rates (including contractor’s profit).  For the other part of the items the rates can be derived from the schedule of rates of P.W.D.

- In the case of extra item whether additional, altered, substituted, for which the rates cannot be derived either from similar item of work in the contract or from the departmental schedule of rates, the contractor shall within 14 days of the receipt of order to carry out the said extra item of work, communicate to the owner the rate which he proposes to claim for the item, supported by analysis of the rate claimed and the `Owner’ shall within one month thereafter, determine the rate on the basis or the market rate giving due consideration to the rate claimed by the contractor.

3.	SPECIAL CONDITIONS

  - Time is the essence of the contract.  Time of completion of work allowed is 7 days. And 45 days for load regularization with KSEB. (Total 52 days)

  - Tender shall be opened on 1.04.2020.   3.30 PM

  - The letter of intent shall be issued soon followed by the formal work order.

  - The successful tenderer has to execute an agreement for the said work.

  - Only first quality materials shall be allowed for the work.  The samples of all materials shall be got approved by the owner before supplying for the work.

  - Contractor has to prepare all necessary drawings and submit to the Kerala State Electricity Board and Kerala State Electrical Inspectorate for the scheme approval  for the entire scheme including Transformer and Diesel Generator  and associated equipments  within 5 days of award of work.

  - Owner shall give last scheme approved drawings of all installation. The actual drawings prepared by the contractor must be complete in all respects for the smooth functioning of the theatre which should be ensured by the contractor in consultation with the owner. Any addition or alterations required can be included with their concurrence.  Necessary follow up action shall be taken by the Contractor to obtain the sanction from the Electrical Inspectorate and Electricity Board.

  - On completing the installation the completion  report  shall be produced before   the Kerala State Electrical Inspectorate for approval.  The observations/comments issued by the electrical Inspector has to be rectified at no extra cost

  - The contractor shall be responsible to obtain the energisation approval  from EI and load regularization from KSEB on behalf of the owner as soon as possible.

  - Owner, shall pay all statutory fee and service connection charges, Caution Deposit, Deposit Work, statutory fees etc for the above works. All other cost shall be included in the offer.

  - The test certificate, operators manual and warranty of all equipment has to be submitted to Owner on completion of work.

  - 2 sets of schematic diagrams of approval from electrical inspectorate including energization order etc to be submitted to KSFDC one at head office and one at concerned theatre in addition to the copy to M/s KSEB.

  - 2 sets of copy of agreement executed with KSEB to be submitted to KSFDC one at head office and one at concerned theatre.

  - The contractor himself shall prepare connected load details by verifying site.

  - The payment shall be made as under:-

- 70% of the  value of goods supplied/work executed at site, shall be made immediately after supply of materials/work executed at site.

- 15% of the value of goods supplied/work executed at site, shall be made immediately after completing and commissioning the equipments/work executed.

- 12.5% after rectification of defects, obtaining energization order from authorities, load regularization (including executing agreement with  Electrical section Puthanchanda Trivandrum KSEB) , energizing the complete system to the full satisfaction of Owner.

- Balance 2.5% after defect liability period of 12 months.

  - The rates quoted by the contractor shall include cost of all materials, conveyance, labour supervision thereof, hire of all tools and implements, incidental charges and all that is required for the complete work.

  - The contractor is expected to visit the site and study the probable routes of transportation of material to the site before quoting.

3.14	All the items of the work are to be executed as per relevant IS specifications.

3.15	The Contractor has to agree and strictly abide to all the conditions stipulated in the tender and any offer with deviation or request for deviation are liable to be rejected.

3.16         The guarantee shall be 12 months from the date of handing over the installation duly energised.

3.17       The contractor has to prepare a time schedule for the complete work in detail and submit to Owner in triplicate within 2 days from the day of letter of intent.

3.18      	Penalty : Owner shall  impose a penalty for every work of delay as @ 1 % of total contract to a maximum of 10% of the total contract value after which the contracts stands cancelled this will apply plan wise according to the contract value of each phase.

4.	PARTICULAR SPECIFICATION

4.1	SCOPE:-

The scope of work covers installation of cables as indicated in the schedule and earthing as per standards.  All necessary clearance shall be obtained from authorities and service connection obtained to the satisfaction of the owner.

4.2           GENERAL

Work shall be carried out in accordance with specification local rules.  Indian Standard Code of Practice No.IS:732-1963.  Definition of terms shall be as in the I.E. Rules.

4.3            LT CABLE   1.1 KV GRADE/PVC CABLE

4.3.1  		 INSTALLATION

Cable shall  be  laid  in the  routes marked  in the  drawings Where the  cable route is not  marked the contractor  shall mark  it   out on  the drawings  and also  on the  site and obtain the  approval of  the engineer  before laying of  the cable.  Procurement  of cable  shall be  on the basis  of actual  site measurement  and the  quantities shown on  the schedule  of work  shall be  regarded as   a guide.  Cable rising  indoors shall  be laid  on walls, ceiling, inside shafts or trenches.  Single  cables laid  shall be  fixed directly  to walls  or ceiling.  All  supports shall be  at not  more than  500mm.  Where number  of cables are run necessary  perforated cable  trays shall  be provided wherever  shown.  Cables laid  in built  up trenches shall  be on steel supports.  Plastic identification tags  shall be  provided at  every 20mtr.

Cables shall  be bent  to  a radius not  less than  12 times the overall  diameter of  the cables or  in accordance  with the manufacturer's  recommendation whichever  is higher. In case  of direct  buried cable the  cable route  shall be parallel or  perpendicular to  roadways, wall etc. Cables   shall be laid in  an excavated graded  trench over  sand cushion to  provide protection  against abrasion. Width  of excavated trenches  shall be  as required.  The  cable route shall be  provided with  cable route  marker at  every 20mtr.

4.3.2    	TESTING

M V cables shall  be tested  upon installation  with   a 500V megger and  the following  readings established.

1.	Continuity on all phases

a. between  conductors

b. all conductors  and ground

2.  Insulation resistance

4.3.3           	MODE  OF MEASUREMENT

Cable will  be measured  on the  basis of  unit length  and shall include  the following:-

i       Cables and  clamps

ii      Installation commissioning and  testing

iii     Cable marking

iv     Cable route  marker if  required

4.5.6		LIGHTING AND  POWER WIRING

All the  wiring shall  be colour  coded as  follows

R	-	Red

Y	-	Yellow

B	-	Blue

N	-	Black

Control  wiring  if any	-   Grey

Every conductor  shall be  provided with  identification as per  rules matching  the drawings.

4.6   Testing

The following tests shall be carried out on all types of wiring on completion of the work and before energizing the installation.

  - Insulation resistance test.

  - Electrical Continuity test.

  - Earth Continuity test.

4.6.1		Insulation resistance test:  The insulation resistance shall	be measured by

using 500V megger between the following points.

- Phase and neutral conductor with all fuses in position and all switches in closed condition and main switch in OFF position with lamps and other devices removed.

- Between earth and whole system of conductors with all fuses in place, all switches closed and all lamps in position.

- Between all conductors connected to one phase of the supply and the conductors connected to neutral with all lamps in position and switches on OFF position.

The insulation resistance in mega ohm as obtained by each of the above tests shall not be less than 50 divided by the number of points on the circuit.  Where a whole installation is being tested, a lower value than that given by the above formula is acceptable subject to a minimum of one mega ohm.

4.6.2             Electrical    continuity test: Earth and every circuit shall be tested for electrical       continuity by using a millimeter.

4.6.3		Earth Continuity test:  The earth continuity conductor including metal conduit shall be tested for electrical continuity and the resistance of the same along with the earthing lead measured from the connection with the earth electrode to any point in the earth continuity conductor in the complete installation shall not exceed one ohm.

  - EARTHING

    - SCOPE

The scope of work shall cover earthing stations, laying copper earthing strips.

4.7.2  STANDARDS

The following standards and rules shall be applicable.

  - IS:3043 – 1987  Code of practice for earthing.

  - Indian Electricity Act and Rules.

All codes and standards mean the latest, where not specified other wise.  The installation shall generally follow the Indian Standard code of practice or the British Standard codes of practice in the absence of Indian standards.

4.7.4		EARTH LEADS  AND CONNECTIONS

Earth lead  shall be  bare copper  as specified  with sizes shown on  drawings.  Earth  lead run  on surface  of wall or ceiling  shall be  fixed on  saddles or  wall so  that the strips is at least  8mm away  from the  wall surface.

The complete  earthing system  shall be  mechanically and electrically connected  to provide  an independent  return path to  the earthing  source.

4.7.5		EQUIPMENT EARTHING

All apparatus  and equipment  transmitting or  utilizing power shall be  earthed in  the following  manner . Copper earth wires  shall be  used  where  copper wires  are specified.

a.	  Armoured cables  shall be  earthed by 2  distinct earth connections  to the  armouring at  both the  ends and the size  of connection  being same  as for  the metallic conduit.

b. 	3   phase power  panels shall  have 2 distinct  earth connections of  the size  co-related  to the incoming cable size.

c.	An  equipment   earthing  grid  is  to  be established. All earth  connections to  all panels and equipment shall be  connected to  the nearest  point of  the earthing grid.

4.7.6		TESTING

The following  earth resistance  value shall  be measured with an  approved earth  megger  and  recorded.

1.   Each earthing  station

2.   Earthing system  as a   whole

3.   Earth continuity  conductors.

4.9 RECOMMENDED  MAKES OF MATERIALS

| No | ITEM DECRIPTION | RECOMMENDED MAKE |
| --- | --- | --- |
| 1 | LT/ XLPE Cables./Flexible copper cable | Empire,V-Guard NICCO, Gloster, Universal, Polycab, Torrent, RPG, KEI. |
| 2 | Cable gland (Heavy Duty)/LUGS | COMEX / PRABHATH / DOWELS / JAINSON |
| 3 | MCCB’S | Schneider,ABB, HPL, L&T, C&S, Siemens. |
| 4 | Switch gears and COS. | Schneider,ABB, HPL, L&T, C&S. |
| 5 | DBs | Legrand Lexic, Hager, Merlin Gerin, Siemens, C & S, ABB. |
| 6 | MCB, ELCB | Legrand Lexic, Hager, Merlin Gerin, Siemens, C & S, ABB. |
| 7 | Wires/control cable 650/1100V Grade | V-Guard Finolex,Polycab Q flex, RR Kabel, RPG cables, Lapp Kabel, , Torrent, Primecab, Gloster. |
| 8 | Switches, Sockets 6/16A | MK, Legrand Mosaic, ABB,Crabtree, Anchor Panasonic,North West , Oris. |
| 9 | Rigid PVC Pipes and fittings | Koneseal, Balco, A-One ,Precision, Geo |
| 10 | Weather proof junction box | Hensel, Sintex |

NOTE: The contractor can use any other make of material  whose technical specifications conforms to the relevant IS/IEC ,if approved by Owner before finalizing the offer. The order of priority is as in the above list.

- EXTRA ITEMS

5.1 Any item of work that do not find a place in the schedule of quantities, in the original

tender or in the accepted tender which has been directed by KSFDC to execute is deemed

as an extra item of work. All such works that are necessary to be carried out under the

direction of  KSFDC  shall be carried out by the contractor. No such variation will violate the Contract.

5.1.1 Extra items of work thus carried out by the contractor will be paid at the rates worked out by KSFDC

6    WATER AND ELECTRICITY

6.1 The contractor shall make his own arrangement for water and electricity required for the

work. KSFDC  shall take no responsibility for the supply of either electricity or water

.

6.2      INSURANCE

The successful tenderer shall take out Contractor’s All Risk (CAR) insurance policy, jointly

in the name of  KSFDC Projects  and the contractor, and the original policy shall be deposited with KSFDC.

6.3 This Notice Inviting Tender (NIT) will form part of the tender document and the agreement executed by the successful tenderer.

MANAGING DIRECTOR,

KERALA STATE FILM DEVELOPMENT CORPORATION.

## PROFORMA OF PRELIMINARY AGREEMENT

(To be executed on stamp paper of value Rs.200/- and submitted along with tender).

Preliminary agreement executed on this ……day of ……………..… Two thousand twenty  between THE KERALA STATE FILM DEVELOPMENT CORPORATION LTD. (KSFDC), VAZHUTHACADU, THIRUVANANTHAPURAM (Hereinafter called owner) on one part and ……………………………………………………………………. ………………… ……………………………………………………………………………… (Name and address of the Tenderer) (Hereinafter called the Bounden) on the other part.

Whereas in response to the Tender notification no. ……………………………… dated …………. the bounden has submitted to the KSFDC a Tender for the ELECTRICAL WORKS FOR INSTALLATION OF AIR CONDITIONER AT HEAD OFFICE OF KSFDC AT  VAZHUTHACAUD  THIRUVANANTHAPURAM ………………………………………………………………. …………………… specified therein subject to the terms and conditions contained in the said tender;

Whereas the bounden has also deposited with the KSFDC a sum of Rs. ………………. as earnest money for the execution of an agreement undertaking the due fulfillment of the contract in case his tender is accepted by the KSFDC.

Now THESE PRESENTS WITNESS and it is hereby mutually agreed as follows:

1.   In case the tender submitted by the bounden is accepted by the KSFDC and the contract for ……………………………………………………………………………………… is awarded to the bounden, the bounden shall within 3 days of acceptance of his tender execute an agreement with the KSFDC incorporating all the terms and conditions under which the KSFDC accepts his tender.

- In case the bounden fails to execute the agreement as aforesaid incorporating the terms and conditions governing the contract, the KSFDC shall have power and authority to recover from the bounden any loss as determined by the KSFDC by appropriating the earnest money deposited by the bounden and if the earnest money is found to be inadequate the deficit amount may be recovered from the bounden and his properties movable and immovable in the manner hereinafter contained.

- All sum found due to the KSFDC under or by virtue of this agreement shall be recoverable from the bounden and his properties movable and immovable under the provisions of the Revenue Recovery Act for the time being in force as though such sums are arrears of land revenue and in such other manner as the KSFDC may deem fit.

In witness whereof the Kerala State Film Development Corporation and Shri. …………………………………….the bounden have hereunto set their hands on the day and year first above written.

Signed by : …………………………………………………

In the presence of witness

1.  ................................

2.  ................................

Signed and delivered by Sri....................................…………., Contractor.

In the presence of witness.

1............................

2............................