**KERALA STATE FILM DEVELOPMENT CORPORATION (KSFDC) LTD**

**CHALACHITRA KALABHAVAN**

**VAZHUTHACAUD, THIRUVANANTHAPURAM 695 014**

**TENDER No: 3766/T1/19/KSFDC/ dated 20/6/2019**

**TENDER DOCUMENTS**

**TENDER DOCUMENTS FOR SUPPLY AND INSTALLATION OF 250 kVA RESIN CAST TRANSFORMER AT KAIRALI THEATRE ALAPPUZHA UNDER KSFDC LTD**

**I. SUMMARY OF NOTICE INVITING TENDER**

1. Name of work SUPPLY AND INSTALLATION OF 250 Kva RESIN CAST TRANSFORMER AT KAIRALI THEATRE ALAPPUZHA UNDER KSFDC LTD

2. Tender No. **3766/T1/19/KSFDC/ dtd 20/6/2019**

3. Name and address of the owner Managing Director

KSFDC,

Vazhuthakaud

TRIVANDRUM - 14

4. Date of commencement of work 3 days from the receipt of work order

5. Period of completion of works 2­­1 days for time of work completion including supply, installation & energising

6. Period of measurement and evaluation one month from the date of energizing.

7. Defects liability period. 12 Months from the date of Commissioning

8. Place of issue of tender/ Managing Director Place of receipt of tender KSFDC,

Vazhuthakaud

 TRIVANDRUM - 14

9. Security deposit 2.5 % the contract amount

10. The firm period of tender 3 months from the date of submission

11. Escalation No escalations

12. Earnest money deposit (EMD) Rs.22500/-

13. Last date of receipt of tender 3 PM on 03/07/2019

14. Date and time of opening of tender 3:30 PM ON 6/07/2019

15. Tender cost Rs.2120/- (Including GST)

16. Penalty 1% of contract value per week up to a maximum of 10% of PAC.

**OWNER**

1. NOTICE INVITING TENDER

1.1 E-tenders in item rate for Supply and installation of 250 kVA RESIN CAST TRANSFORMER CT PT ENERGY METER AND CONNECTED WORKS at KSFDC- (Kairali / Sree) theatres at Alappuzha, are invited by The Managing Director, Kerala State Film Development Corporation, Chalachithra Kalabhavan, Vazhuthacaud, Thiruvananthapuram 14

 1.2 Tenderers are strongly advised to go through e tender documents in connection with this tender very carefully. E tenders shall be submitted through online only on or before 3.PM on 03/07/2019. Any tender received after the due date and time will be rejected.

 The e tender containing the followings

 i) Earnest Money Deposit

 ii) Tender documents including notice inviting tender, eligibility to tender, general terms and conditions, special conditions, particular specification, recommended makes.

 1.3 The received tenders will be opened at 3.30 PM on 06.07.2019 in the office of KSFDC ltd., Vazhuthacaud, Trivandrum - 14. The Owner reserves the right to reject all or any of the tenders and to accept in whole or part of any of the tenders without assigning any reason for so doing.

 1.4 The successful tenders will be required to sign an agreement in a form approved by the Owner for the fulfillment of the contract. Both the written acceptance of the tender by the Owner will constitute a binding agreement between the Owner and the person so tendering whether such formal contract is or is not subsequently entered into.

* 1. a) **All statutory deductions like I.T, G.S.T, contribution to ESI, KCWW Fund etc shall be made from the amount eligible to the contractor in each part bill at current rates.** The rate of deduction towards work contract tax shall be changed if the government revises the rate. Any tax omitted to be deducted in any part bill shall be deducted in the subsequent bills/final bill. ***The contractor shall submit the GST registration along with tender.*** ***The GST at prevailing rates is applicable to the contractor.***

1. All statutory payments in connection with the employment of the workmen for this work will be borne by the contractor.
2. **Upload a statement in e tender in your letter head showing the base price and GST for each item separately and the grand total.**

1.6 PERIOD OF VALIDITY

The tender shall remain valid for acceptance for a period of 90 days from the date of opening of the tenders.

1.7 INSPECTION OF SITE

Every tenderer is expected to inspect the site of the proposed work and acquaint himself with the site conditions, approaches etc. before quoting his rates. No claim whatsoever should be entertained later on the plea of any difficulties involved in the execution of work, which was or was not foreseen by the tenderer.

1.8 **ALL INCLUSIVE RATES**

The contractor’s rate must be firm and must include the cost of transportation of material to the site, ***all taxes such as GST and octroi, etc.*** and the fixing or placing in position for which the item of work is intended to be operated. The rates quoted by the contractor shall be firm throughout the contract period and there shall be no upward revision of the rates quoted by the contractor for any reason whatsoever. ***It should be clearly understood that any claim for extra or any additional tax, etc. shall not be entertained in any case whatsoever once the tenders are opened.***

1.**9 Eligibility :** (i) The tenderer shall be a A Class contractor for electrical work.

 (ii) shall have done 2 works of similar nature involving HT and LT installations ,Transformer and Diesel Generator of order value more than 50 lakh in the last 3 years (Documentary evidence to be submitted).